<<<STATEMENT OF PROCEEDINGS

AIR POLLUTION CONTROL BOARD

SAN DIEGO COUNTY AIR POLLUTION CONTROL DISTRICTS

REGULAR MEETING, WEDNESDAY, MARCH 25, 2009
<Board of Supervisors North Chamber>
1600 Pacific Highway,< Room 310>, San Diego, California

MORNING SESSION:  Meeting was called to order at 9:04 a.m.

PRESENT:  Members Dianne Jacob, Chairwoman; Pam Slater-Price, Vice Chairwoman; Bill Horn;   Ron Roberts; Greg Cox; also David Hall, Assistant Clerk.
<Approval of Statement of Proceedings/Minutes for meeting of< March 4, 2009.>>
ACTION:

ON MOTION of Member Roberts, seconded by Member Horn, the Air Pollution Control Board of the San Diego County Air Pollution Control District approved the Statement of Proceedings/Minutes for the meeting of March 4, 2009.
AYES:  Cox, Jacob, Slater-Price, Roberts, Horn

Public Communication:  (No Speakers)
<Air Pollution Control Board Agenda Items>>

	<<    1.>
	< MacroButton NoMacro ADOPTION OF NEW RULE 69.2.1 – SMALL BOILERS, PROCESS HEATERS, AND STEAM GENERATORS>>



<
	<<AP1.>
	<SUBJECT:>
	< MacroButton NoMacro ADOPTION OF NEW RULE 69.2.1 – SMALL BOILERS, PROCESS 
HEATERS, AND STEAM GENERATORS (DISTRICTS:  ALL) >>

	<
	<OVERVIEW:>>

	<
	< MacroButton NoMacro Adoption by the Air Pollution Control Board is requested for proposed new Rule 69.2.1, regulating emissions of oxides of nitrogen from new and replacement small boilers, process heaters, and steam generators.  Nitrogen oxides emitted to the atmosphere as a result of fuel combustion in this equipment play a role in ozone formation.  San Diego County does not yet attain State and federal air quality standards for ozone, a major component of smog.

The emissions control technology for the equipment affected by this rule is well established and the proposed rule provisions are similar to existing regulatory requirements in several other California air districts.  Proposed new Rule 69.2.1 applies to manufacturers, sellers, distributors, or installers of affected equipment.  It will prohibit the sale, distribution, or installation of any unit that does not comply with the proposed emission limits and requires equipment manufacturers to certify the unit’s compliance with all applicable rule provisions.  The proposed rule will not affect existing equipment.

Upon full implementation, the rule will reduce emissions of nitrogen oxides from affected equipment by approximately 73%, or 65 tons per year.  It will help fulfill State requirements to implement all feasible control measures to achieve the ambient air quality standards for ozone.>>

	<
	<FISCAL IMPACT:>>

	<
	< MacroButton NoMacro The proposed new Rule 69.2.1 will not have a significant fiscal impact on the Air Pollution Control District.  The rule will be enforced with existing District staff.>>

	<
	<BUSINESS IMPACT STATEMENT:>>

	<
	< MacroButton NoMacro Adopting Rule 69.2.1 will not adversely impact the business community.  Combustion equipment complying with the proposed rule is currently readily available in California.  The rule will not affect any facility that currently operates such equipment in San Diego County until the equipment is replaced or new equipment is installed.  Low-emitting units are more energy-efficient and their cost is expected to decrease over time due to advances in technology and increasing demand.>>

	<
	<RECOMMENDATION:>>

	<
	<CHIEF ADMINISTRATIVE OFFICER
1. Find that the adoption of Rule 69.2.1 is categorically exempt from the provisions of the California Environmental Quality Act pursuant to California Code of Regulations, Title 14, Section 15308, as an action taken to assure the protection of the environment, where the regulatory process involves procedures for protection of the environment.

2. Adopt the resolution entitled Resolution Adopting Rule 69.2.1 into Regulation IV of the Rules and Regulations of the San Diego County Air Pollution Control District.>>

	
	ACTION:

	<
	<ON MOTION of Member Roberts, seconded by Member Horn, the Air Pollution Control Board of the San Diego County Air Pollution Control District took action as recommended, on Consent, adopting Resolution No. 09-047, entitled:  RESOLUTION ADOPTING RULE   69.2.1 – SMALL BOILERS, PROCESS HEATERS, AND STEAM GENERATORS, OF REGULATION IV OF THE RULES AND REGULATIONS OF THE SAN DIEGO COUNTY AIR POLLUTION CONTROL DISTRICT.>>


>>
There being no further business, the Board adjourned at 10:53 a.m.
THOMAS J. PASTUSZKA

Clerk of the Air Pollution Control Board

San Diego County Air Pollution Control District

Notes by:  Santos

NOTE: This Statement of Proceedings sets forth all actions taken by the San Diego County Air Pollution Control Board on the matters stated, but not necessarily the chronological sequence in which the matters were taken up.

>
3/25/2009 Air Pollution Control Board







1

