COUNTY OF SAN DIEGO STORMWATER POLLUTION PREVENTION PLAN (SWPPP) FOR TRADITIONAL CONSTRUCTION ACTIVITIES

RISK LEVEL [#]

[Project Name]
Oracle Project Number: [#########]

[Project Location/Address]

Site Operating Hours: [####]

Project Start Date: Click or tap to enter a date.

Project End Date:  Click or tap to enter a date.

SWPPP Developed By:

[Name]

[Company]

[Phone Number]

QSD Certificate No. [######]

[QSD Signature]

If the Primary QSD performing inspections is different from above, please include information in the following section. If they are the same, simply copy the information above.

SWPPP Date: [##/##/####]

Amended: (QSD) Month Day, Year IF APPLICABLE

Contact Information

Primary QSD

[Name]
[Company]
[Phone Number]
QSD Certificate No. [#####]

Primary QSP/WPCM

[Name]
[Company]
[Phone Number]
QSP Certificate No. [#####]

Alternate QSP/WPCM

[Name]
[Company]
[Phone Number]
QSP Certificate No. [#####]

QSP Delegate

[Name]
[Company]
[Phone Number]

[Title]

[Name]
[Company]
[Phone Number]

Insert extra information (or remove information) as needed to include all the contact information for QSD(s), QSP/WPCM(s), and trained delegates on the project.

SWPPP Template Instructions

- Use the ¶ button to show hidden text and instructions. The instructions are highlighted yellow.

- Prior to printing document HIDE all instructions.

- Ensure [bracketed] materials are removed prior to signing the SWPPP.

- Items in blue italics indicate sample paragraphs/text.

- These samples should be altered to meet site-specific conditions. FOR EXAMPLE:

The County is developing Flood Control and Roadway Improvement Plans, etc. Project No. XXXXX is located [describe location here] within the County of San Diego, California. The project consists of approximately XX total acres.

- Items in regular type will not change or will change slightly (in the case of listed items) from one SWPPP to another.

- The Water Pollution Control Manager (WPCM) title is used throughout the SWPPP template in combination with the QSP title, appearing as “QSP/WPCM”.  These positions are used interchangeably as a WPCM must have the same qualifications as a QSP.

- All SWPPPs must be site specific.

- Ensure that italicized items are modified as necessary to reflect site specific elements, and that the typeface is changed to the font Aptos, font size 11, and font color black.

- For Capital Improvement Projects (CIP) the County provides a Conceptual Stormwater Pollution Prevention Plan (CSWPPP) to the Contractor’s Qualified SWPPP Developer (QSD). The QSD shall verify, complete, and revise, as necessary, the CSWPPP while developing their site specific SWPPP. In all cases, the QSD shall ensure that the SWPPP reflects the site-specific conditions of the project.

- Page numbers in this Word document area used for the Table of Contents and serve as reference for locating content. Once printed or converted to PDF, they indicated relative positions within the document. Since a SWPPP is a living document, page numbers may become inconsistent as new reports or forms are added.

- You may delete these instructions prior to printing the document.

Table of Contents

Qualified SWPPP Developer (QSD) Certification	IX

Duly Authorized Representative (DAR) Certification	X

Qualified SWPPP Practitioner/Water Pollution Control Managers (QSP/WPCM) Acknowledgement	XI

Contractor Acknowledgement	XII

1	Introduction, Required Notices, and Other Plans	13

1.1	Objectives	13

1.2	Permit Registration Documents	14

1.3	Risk Determination	14

1.4	Change of Information	15

1.5	Notice of Termination (NOT)	16

1.5.1	NOT Photo Documentation	17

1.5.2	Long-Term Maintenance Plan	17

1.6	Implementation	17

1.7	Training	18

1.7.1	QSP Delegate Training	18

1.8	Other Discharge Prohibitions	18

1.9	NOI Summary Sheet	19

2	Site Conditions	20

2.1	Vicinity Map	20

2.2	Existing Conditions	20

2.2.1	Regional Topography and Drainage Patterns	20

2.2.2	Existing Soil Conditions	20

2.3	Proposed Conditions	21

2.3.1	Project Drainage Patterns	21

2.4	Construction Site	21

2.4.1	Water Pollution Control Drawings (WPCDs)	22

2.4.2	BMP Implementation Schedule	22

3	Potential Pollutant Sources	23

3.1	Site History (Pre-Existing Pollutant Sources)	23

3.2	Existing Post-Construction BMPS	23

3.3	Pollutants That May Affect Stormwater Quality	23

4	Best Management Practices (BMPs)	27

4.1	General Description	27

4.2	Rain Event Action Plan (REAP)	27

4.3	Preserve Existing Topsoil	27

4.4	Surface Water Buffer	30

4.5	Temporary Erosion Control BMPs	32

4.6	Temporary Sediment Controls	35

4.7	Temporary Tracking Controls	38

4.8	Wind Erosion Control BMPs	40

4.9	Non-Stormwater Management BMPs	42

4.10	Waste Management and Materials Pollution Control BMPs	44

4.10.1	General Spill Prevention and Control	44

4.10.2	Insignificant Spills	44

4.10.3	Significant Spills	45

4.10.4	Non-Hazardous Waste Landfills	46

4.10.5	Hazardous Wastes (Gas, Oil, Chemicals, etc.)	47

4.11	Offsite Stormwater Run-On	49

4.12	Other BMP Considerations	51

4.12.1	Pesticide Application	51

4.12.2	Demolition of Existing Structure	51

4.12.3	Maintenance and Repair	51

5	Post-Construction Requirements	52

5.1	Post-Construction Requirements for County Areas Outside of Phase I and Phase II MS4 Permit Coverage	52

6	Construction Site Monitoring Program (CSMP)	53

6.1	Monitoring Exceptions	53

6.2	CSMP Goals and Objectives	53

6.3	Roles/Responsibilities for Stormwater Monitoring	54

6.3.1	QSP/WPCM Responsibilities	54

6.3.2	QSD Responsibilities	54

6.3.3	Primary Qualified Sampling Personnel	55

6.3.4	Alternate Qualified Sampling Personnel	56

6.4	Visual Inspections	57

6.5	Visual Observation Inspections of Qualifying Precipitation Events	59

6.5.1	Pre-Qualifying Precipitation Event Inspections	59

6.5.2	During Qualifying Precipitation Event Inspections	59

6.5.3	Post-Qualifying Precipitation Event Inspections	59

6.6	Inspection Schedule for Stored or Contained Stormwater	60

6.7	Discharge Visual Observation Inspections	60

6.7.1	Non-visible Pollutant Source Observations	60

6.7.2	Authorized Non-stormwater Discharge	60

6.7.3	Discharge Observations	62

6.7.4	Inspection Records	62

6.8	Site Sampling and Analysis	63

6.8.1	Scope of Monitoring Activities	63

6.8.2	Narrative Effluent Limitations	63

6.8.3	Numeric Action Levels (NALs)	64

6.9	Non-Visible Pollutant Sampling and Analysis	64

6.9.1	Required Sampling of Non-Visible Pollutants	67

6.9.2	Inventory	67

6.9.3	Housekeeping of Potential Pollutants	67

6.10	Stormwater Discharge Sampling and Analysis for pH and Turbidity for Risk Level 2 and 3 Projects	68

6.11	Receiving Waterbody Water Quality Standards/Objectives	68

6.11.1	Receiving Water Monitoring Exceptions	69

6.12	Sampling Locations	69

7	Reporting	71

7.1	Reporting	71

7.2	Site Inspection Report	71

7.3	Numeric Action Level Exceedance Report	71

7.4	Numeric Effluent Limit Exceedance Report	71

7.5	Annual Report	72

7.6	Reporting of Non-Compliance with the CGP or SWPPP	72

7.7	Reporting of Exceedance of Water Quality Benchmarks, NALs, and NELs	72

7.8	SWPPP Amendments	73

8	Responsible Parties	74

8.1	List of Contractors and Subcontractors	74

8.2	Incorporation of County Special Provisions	75

8.3	Training Program for Personnel Under Direction of QSP/WPCM	75

8.4	Education Program	75

9	References	77

List of Appendices

APPENDIX A – Completed Form CE 2043 SWPPP/WPCP Amendment Log And Certification	65

APPENDIX B – Project Risk Determination	66

APPENDIX C – Construction Schedule and BMP Implementation Schedules	67

APPENDIX D– Water Pollution Control Drawings (WPCDs)	70

APPENDIX E – Notice Of Intent (NOI), Copy Of Annual Fee, and LRP Assignment	71

APPENDIX F – Completed Change Of Information (COI) Form CE 2044	72

APPENDIX G – Notice Of Termination (NOT) Final Inspection Form CE 2065	73

APPENDIX H– Hydrology Maps And Calculations For The Collection And Conveyance Of Run On And Run Off	74

APPENDIX I – Best Management Practices (BMP) Fact Sheets	75

APPENDIX J – Additional Monitoring Requirements Required By The Regional Water Quality Control Board	76

APPENDIX K – QSD, QSP Certificates, Completed Stormwater Training Record CE 2030, Stormwater Training Log CE 2031, And QSP Delegate Training	77

APPENDIX L – Blank Sample Reports	78

APPENDIX M – Completed Stormwater Site Inspection Report CE 2020, Stormwater Site Inspection Report Completed Corrective Actions Summary CE 2022, And Rain Gauge Monitoring Log CE 2027	79

APPENDIX N – Completed Storm Event & Non-Stormwater Sampling Report CE 2053, Notice of Discharge Report (High Level Non-Compliance) CE 2060, Numeric Effluent Limit (NEL) Exceedance Report CE 2061, And Numeric Action Level (NAL) Exceedance Report CE 2062	80

APPENDIX O – Rain Event Action Plan CE 2040	81

APPENDIX P – Completed Annual Report Checklist CE 2063	82

APPENDIX Q – List Of Contractors And Subcontractors	83

APPENDIX R – Post Construction Runoff Calculations For Projects Outside MS4 Permit Coverage	85

APPENDIX S – Active Treatment System (ATS) Plan And Requirements, Passive Treatment Plan	86

APPENDIX T – County Of San Diego Special Provisions For Water Pollution Control	87

APPENDIX U – Dewatering Plan and Completed Dewatering Operations Sampling Report CE 2064	88

APPENDIX V– Soil Contamination Information	89

APPENDIX W– Glossary, Acronym List, And Board Contact Information	90

APPENDIX X – Record Of Spills	99

APPENDIX Y –CGP	100

APPENDIX Z –All Other Permits and Regulatory Documents	101

List of Tables

Table 2-1: Summary of Sediment Risk	15

Table 2-2: Summary of Receiving Water Risk	15

Table 2-1: Summary of Construction Site Characteristics	21

Table 3-1: Potential Pollutant Source Assessment Form	24

Table 4-1: Preserve Existing Topsoil	29

Table 4-2: Surface Water Buffer	31

Table 4-3: Temporary Erosion Control BMPs	34

Table 4-4: Temporary Sediment Control BMPs	37

Table 4-3: Critical Slope and Sheet Flow Length Combinations for Linear Sediment Reduction Barrier	38

Table 4-5: Temporary Tracking Control BMPs	39

Table 4-6: Temporary Wind Erosion Control BMPs	41

Table 4-7: Non-Stormwater Management BMPs	43

Table 4-8: Spill Response Personnel	44

Table 4-9: Major Spills Priority Action List	46

Table 4-10: Non-Hazardous Waste Landfills	46

Table 4-11: Waste Management and Materials Pollution Control BMPs	48

Table 4-12: Temporary Diversion BMPs	50

Table 6-1: Primary Stormwater Sampler	55

Table 6-2: Primary Stormwater Sampler Training	56

Table 6-3: Primary Stormwater Sampler Experience	56

Table 6-4: Alternate Stormwater Sampler	56

Table 6-5: Alternate Stormwater Sampler Training	57

Table 6-6: Alternate Stormwater Sampler Experience	57

Table 6-7: Visual Inspection Schedule	58

Table 6-8: ELAP – Accredited Laboratory Information	65

Table 6-9: Non-Visible Pollutant Sampling Strategy	66

Table 6-10: Potential Non-Visible Pollutants And Water Quality Indicator Constituents Based On The Pollutant Source Assessment	67

Table 6-11: pH/Turbidity Stormwater Sampling Strategy	68

Table 6-12: Potential Sampling Locations	70

Table 8-1: Contractors And Subcontractors	74

# Qualified SWPPP Developer (QSD) Certification

QUALIFIED SWPPP DEVELOPER’S (QSD) CERTIFICATION OF THE STORMWATER POLLUTION PREVENTION PLAN (SWPPP)

“This Stormwater Pollution Prevention Plan and its appendices were prepared under my direction to meet the requirements of the California Construction Stormwater General Permit (Order No. 2022-0057-DWQ) and applicable elements of the Project’s Contract Documents. I certify that I am a Qualified SWPPP Developer in good standing as of the date signed below and will maintain up to date credentials for the duration of the project.”

The QSD’s certificate can be found in APPENDIX K of the SWPPP.

(QSD Name and QSD Certification #)

(QSD Signature)

(Date of SWPPP Certification)

# Duly Authorized Representative (DAR) Certification

LRP DULY AUTHORIZED REPRESENTATIVE (DAR) AUTHORIZATION

The LRP has authorized the following person/persons to perform the duties of a Duly Authorized Representative (DAR) as described in Section V.B.2, V.B.3., and defined in Attachment B, of the Construction General Permit (CGP) (CAS000002, Order No. 2022-0057-DWQ) (CGP) for reviewing, signing, and certifying documents in conformance with Section V.B. of the Construction General Permit (CGP) (CAS000002, Order No. 2022-0057-DWQ).

The LRP authorization for the Duly Authorized Representative can be found in APPENDIX E.

“I certify under penalty of law that this document and all attachments were prepared under my direction or supervision in accordance with a system designed to assure that qualified personnel properly gather and evaluate the information submitted. Based on my inquiry of the person or persons who manage the system, or those persons directly responsible for gathering the information, the information submitted is, to the best of my knowledge and belief, true, accurate, and complete. I am aware that there are significant penalties for submitting false information, including the possibility of fine and imprisonment for knowing violations. I am also aware that my user ID and password constitute my electronic signature and any information I indicate I am electronically certifying contains my signature. I understand that my electronic signature is the legal equivalent of my handwritten signature. My signature on this form certifies that my electronic signature is for my own use, that I will keep it confidential, and that I will not delegate or share it with any other person. Should I wish to delegate such authority, I will do so formally in writing and electronically notify the State Water Board using SMARTS of such delegation within 10 days of the delegation. I further certify that I will protect my electronic signature from unauthorized use, and that I will contact the State Water Board, within two business days of discovery, if I suspect that my electronic signature has been lost, stolen, or otherwise compromised.”

(DAR Name)

(DAR Signature)

(Date)

# Qualified SWPPP Practitioner/Water Pollution Control Managers (QSP/WPCM) Acknowledgement

“I certify that as the contractor’s Qualified SWPPP Practitioner (QSP/WPCM) for this SWPPP that I possess the necessary qualifications as described in Sections V.F., V.G., V.H., and defined in Attachment B of the Construction General Permit (CGP) (CAS000002, Order No. 2022-0057-DWQ) (CGP).”

The QSP’s/WPCM’s certificate can be found in APPENDIX K of the SWPPP.

(QSP Name and QSP Certification No.)

(QSP Signature)

(Date)

# Contractor Acknowledgement

“I acknowledge that I have received the SWPPP and understand that I am responsible for implementing the provided SWPPP. I acknowledge that this project is subject to the requirements of the Construction General Permit (CGP) (CAS000002, Order No. 2022-0057-DWQ) (CGP).”

(Contractor Name)

(Contractor Signature)

(Contractor Company)

(Date)

# Introduction, Required Notices, and Other Plans

## Objectives

The National Pollutant Discharge Elimination System (NPDES) General Permit For Stormwater Discharges Associated With Construction And Land Disturbance Activities (General Permit) ORDER WQ 2022-0057-DWQ NPDES NO. CAS000002, also identified as the Construction General Permit (CGP), requires the development and implementation of a SWPPP for traditional construction sites and underground/overhead linear utility projects (LUPs) with equal to or greater than one acre of soil disturbance. This SWPPP has been prepared to comply with State Water Resources Control Board (SWRCB), Order WQ 2022-0057-DWQ, National Pollutant Discharge Elimination System (NPDES) General Permit For Stormwater Discharges Associated With Construction and Land Disturbances Activities (General Permit) No. CAS000002. The 2022 CGP was adopted by the State Water Resources Control Board (SWRCB) on September 8, 2022, and became effective on September 1, 2023. This SWPPP has been prepared to comply with the conditions listed below:

- A site-specific SWPPP is developed, and amended as necessary, by a QSD. The contractor/QSP/Water Pollution Control Manager (WPCM) is responsible for keeping the SWPPP and associated documents updated in SMARTS to reflect current site conditions and construction activities.

- Trained personnel and BMP materials are available at the site as required by this General Permit.

- The SWPPP includes the implementation of BMPs that comply with Best Available Technology Economically Achievable (BAT) and Best Conventional Pollutant Control technology (BCT) and ensure compliance with water quality standards; additional BMPs based on input from the QSP/WPCM/QSP delegate to address Numeric Action Level (NAL) and Numeric Effluent Limitation (NEL) exceedances; and additional training needed for the QSP/WPCM/QSP delegate, Legally Responsible Person (LRP), or designated persons on-site.

- The SWPPP is available at the site and made available upon request by a federal, State, or municipal inspector. A current copy of the site-specific SWPPP and any site inspection reports required by this General Permit may be kept in electronic format at the site so long as the information requested by a federal, State, or municipal inspector can be made available during an inspection. All maps are legible and available in hard copy at the site.

The contractor is required to implement the provisions contained in this SWPPP and must comply with the standard provisions and reporting requirements contained in the CGP. A copy of the CGP is included as a part of this SWPPP in APPENDIX X. A copy of the project Risk Determination can be found in APPENDIX B. The contractor is responsible for ensuring that hard copies of the SWPPP and all required site inspection reports, sampling results, and site wall maps are kept on-site.

## Permit Registration Documents

The Permit Registration Documents (PRDs) consist of the following:

- Notice of Intent (NOI)

- Risk Level Determination as described in Attachment D.1. of the CGP

- Site Drawings and Maps (Water Pollution Control Drawings) (WPCDs)

- Stormwater Pollution Prevention Plan (SWPPP)

- Applicable plans, calculations, and other supporting documentation for compliance with existing permitted Phase I or Phase II Municipal Separate Storm Sewer System (MS4) post-construction requirements or the post-construction standards of the CGP.

- Annual fee per the current 23 California Code of Regulations Chapter 9 fee schedule for NPDES stormwater permits; and

- All applicable additional Permit Registration Document information as required in Attachment D.2 of the CGP

The PRDs will be uploaded to the State Water Resource Control Board (SWRCB) Stormwater Multi-Application and Report Tracking System (SMARTS) as part of the NOI process. Once the NOI is completed, certified, and the filing fee is paid, a Waste Discharge Identification Number (WDID#) will be issued.  No soil disturbing activity can occur prior to the issuance of a WDID#.

## Risk Determination

Include back-up for Risk Determination in APPENDIX B.

Project start date:

Project final stabilization date:

Location of project (Longitude, Latitude):

COMPLETE TABLES 2-1 AND 2-2 WITH THE RISK DETERMINATION INFORMATION. INCLUDE ALL RISK DETERMINATION BACK-UP IN APPENDIX B.

| Table 2-1: Summary of Sediment Risk |  |  |
| --- | --- | --- |
| RUSLE Factor | Value | Method for Establishing Value |
| R (Rainfall-Runoff Erosivity) |  |  |
| K (Soil Erodibility) |  |  |
| LS (Length-Slope) |  |  |
| Total Predicted Sediment Loss (tons/acre) |  |  |
| Overall Sediment Risk Low Sediment Risk < 15 tons/ acre Medium Sediment Risk >= 15 and < 75 tons/acre High Sediment Risk >= 75 tons/acre |  | ☐ Low ☐ Medium ☐ High |

| Table 2-2: Summary of Receiving Water Risk |  |  |
| --- | --- | --- |
| Receiving Water Name | 303(d) Listed for Impairment by Sediment | Beneficial Uses of COLD, SPAWN, and MIGRATORY |
| [Enter name] | ☐ Yes ☐ No | ☐ Yes ☐ No |
| Receiving Water Risk | ☐ Low ☐ High |  |

The Risk Level for this project is calculated to be:

☐ Risk Level 1           ☐ Risk Level 2           ☐ Risk Level 3

## Change of Information

APPENDIX L contains a blank copy of form CE 2044 Stormwater Change Of Information (COI), completed copies of form CE 2044 Stormwater Change Of Information (COI) will be kept in APPENDIX F. The County LRP/DAR shall electronically certify revisions to the PRDs which may include:

A Change of Information (COI) is required in the following instances:

- Revise the construction start or end dates

- Reduction or addition of Disturbed Soil Area (DSA) acreage

- Inactive project status (start or stop)

- Applicable dewatering discharge changes

- Revised post-construction BMPs

- Change of ownership including certification that any new landowners have been notified of applicable requirements to obtain CGP coverage.  The certification shall include the name, address, telephone number, and e-mail address of the new landowner.

The County shall continue coverage under the CGP for any parcel that has not achieved “Final Stabilization” as defined in Section 1.5 below. When the County owns property with active CGP coverage, and sells the property, or a parcel thereof, to another person, that person shall become the LRP with respect to whatever parcel was sold. Before the property is sold, the County LRP shall inform the new LRP (buyer) of the CGP’s requirements in writing. In order for the new LRP (buyer) to continue the construction activity on its parcel of property, the new LRP, or the new LRP’s DAR must submit PRDs in accordance with the CGP’s requirements.

## Notice of Termination (NOT)

APPENDIX L contains a blank copy of form CE 2065 Notice Of Termination Final Stormwater Inspection Report. The completed form CE 2065 Notice Of Termination Final Stormwater Inspection Report will be kept in APPENDIX G. The County LRP/DAR shall certify and submit the NOT on SMARTS once the criteria listed below have been met.

All General Permit requirements remain in effect until the NOT is approved by the Regional Water Quality Control Board (RWQCB).

The QSP/WPCM must complete the following documents as part of the NOT:

- A complete Notice of Termination.

- QSP/WPCM-prepared form CE 2065 Notice Of Termination Final Stormwater Inspection Report with the QSP/WPCM name and valid QSP/WPCM certificate number.

- A final site map; and

- Photos demonstrating final stabilization and the implementation of applicable post-construction BMPs and/or low impact development.

A project will be considered complete only when all portions of the site comply with all the following conditions:

- All construction activity has been completed.

- There is no greater potential for construction-related stormwater pollutants to be discharged into site runoff than prior to the construction activity.

- Construction-related equipment and temporary BMPs have been removed from the site.

- Construction materials and waste have been disposed of properly.

- Soils disturbed by construction activities have been permanently stabilized (final stabilization), using materials that:

- Have a product life that supports the full and continued stabilization of the site.

- Achieve stabilization without becoming trash or debris; and

- Minimize the risk of wildlife entrapment.

The NOT must demonstrate that the site complies with all NOT conditions above and all final stabilization conditions by one of the following methods:

- 70 percent final cover method. No computational proof required. Requires permanent vegetative cover to be evenly established over 70 percent of all disturbed and exposed areas of soil (non-paved or non-built). In areas that naturally have low vegetative coverage (e.g., deserts), 70 percent of natural conditions of local undisturbed areas is acceptable. Photos of all site areas are required to verify compliance with the 70 percent final cover requirement;

OR

- Revised Universal Soil Loss Equation (RUSLE or RUSLE2) method. Computational proof required. Site conditions shall match values used in method computation. Photos of all site areas are required to verify pre-construction and post-construction conditions used in the computations;

OR

- Custom method. The discharger may request approval from the RWQCB to use a method or analytical model other than Section III.H.4.h.i and 4.h.ii of the CGP to demonstrate that the site complies with the “final stabilization” requirements. Photos of all site areas are required to verify the custom method used.

### NOT Photo Documentation

The NOT photo documentation shall include photos of the site’s final site conditions; post-construction BMPs and/or low impact development features as well as a description of the corresponding location, and orientation of photos as indicated on the final site map.

### Long-Term Maintenance Plan

The NOT shall include a long-term maintenance plan for the post-construction stormwater runoff BMPs and/or low impact development features being implemented. The long-term maintenance plan shall be designed for a minimum of five years, and describe the responsible party(ies), schedule, and procedures needed to ensure the post-construction features are adequately maintained and functional.

## Implementation

The SWPPP shall be implemented prior to, and concurrently with, commencement of soil-disturbing activities.

BMPs must be installed prior to the commencement of any soil disturbing activity.   The SWPPP must be implemented until the NOT is approved by the RWQCB.

## Training

The initial element of the SWPPP to be completed is the training or education program to ensure that the construction personnel are thoroughly aware of the overall stormwater pollution management program. The QSP/WPCM is responsible for conducting and documenting training and education. Each individual training session must be documented using form CE 2031 Stormwater Training Log. Each training session must also be logged on form CE 2030 Stormwater Training Record. A blank copy of form CE 2030 Stormwater Training Record and form CE 2031 Stormwater Training Log are kept in APPENDIX L. Completed copies of form CE 2030 Stormwater Training Record and form CE 2031 Stormwater Training Log will be kept in APPENDIX K.

### QSP Delegate Training

A QSP/WPCM may delegate visual inspections, sampling and/or SWPPP and BMP implementation activities to others (delegates) that have received training for their respective tasks.  The QSP is responsible for providing the required delegate training. The delegate training that will be provided must be:

- Foundational training for all delegates regarding stormwater compliance roles and responsibilities, forecast information, and documentation and reporting procedures; and

- Site-specific training regarding visual inspections, sampling procedures, and/or SWPPP and BMP implementation activities relevant to the delegate’s assigned responsibilities.

It is the responsibility of the QSP/WPCM to ensure that the delegate can perform, and has a competent understanding of, visual inspections, sampling, and/or SWPPP and BMP implementation tasks prior to fully delegating the responsibility to the delegate.

The name, email, and phone number of all delegates must be documented using form CE 2031 Stormwater Training Log. Delegate training forms must be uploaded as an attachment to the SWPPP in SMARTS, prior to the delegate performing the delegated functions.

The QSP/WPCM must ensure there is a system in place to record and report issues back to the QSP within 24 hours of when a corrective action is needed.

QSP Delegates cannot perform the QSD and QSP inspections that are required in Section V.C.4 or Section W.D.2 of the CGP.

## Other Discharge Prohibitions

Compliance with the CGP does not relieve this project of other potentially applicable discharge requirements of the Water Quality Control Plan For The San Diego Basin (9) (San Diego Basin Plan), California Toxics Rule, National Toxics Rule, California Ocean Plan, Areas of Special Biological Significance (ASBS), and/or areas of adopted Total Maximum Daily Load (TMDL) allocations where construction activity or land disturbance has been identified as a source of pollution.

## NOI Summary Sheet

| On-Site Contact Information (24-hr Contact) |  |
| --- | --- |
| Company Name: |  |
| Street Address: |  |
| City/State/Zip: |  |
| First Name: |  |
| Last Name: |  |
| Title: |  |
| Phone: |  |
| Email: |  |

| Site Information |  |
| --- | --- |
| Site Name: |  |
| Street Address: |  |
| City/State/Zip: |  |
| Latitude: |  |
| Longitude: |  |
| Total Site Size: |  |
| Total Planned Disturbed Acreage: |  |
| Construction Start Date: |  |
| Final Stabilization Date: |  |

| Risk Level Determination |  |
| --- | --- |
| Receiving Water (RW): |  |
| High-Risk RW? |  |
| R Factor Value: |  |
| K Factor Value: |  |
| LS Factor: |  |
| Watershed Erosion Estimate (tons/acre): |  |
| TMDL? |  |

| Primary QSD Information |  |
| --- | --- |
| First Name: |  |
| Last Name: |  |
| Email: |  |
| QSD #: |  |
| Phone: |  |

# Site Conditions

This section describes the existing site conditions and existing stormwater drainage patterns.  Additionally, this section will provide a brief description of the figures and plans that provide graphic representations of the site conditions before construction, the anticipated site conditions following construction, and the site conditions as they change during the construction period.

## Vicinity Map

A vicinity map depicting the project site with respect to identifiable major roadways, geographic features, and landmarks is shown in APPENDIX D as part of the NOI.

## Existing Conditions

IF THE PROJECT HAS A PRELIMINARY ENGINEERING REPORT, CONSIDER USING THAT LANGUAGE FOR THE DESCRIPTION OF THE EXISTING CONDITIONS. REPLACE THE TEXT WITH THE DESCRIPTION AND DELETE THE YELLOW HIGHLIGHTED TEXT.

Provide a detailed description of the existing conditions.  What is the project site currently used for?  Briefly describe its present state.  The existing runoff coefficient at the project site is approximately X.XX.  Are there any known contaminants or other pollutants on-site?

### Regional Topography and Drainage Patterns

DESCRIBE THE STORM WATER PATTERNS.  INCLUDE THE NAMES OF RECEIVING WATER.  WITH REGARD TO RECEIVING WATERS, INCLUDE THE NAME OF THE RECEIVING STORM DRAIN SYSTEM IF APPLICABLE.  THE FOLLOWING PARAGRAPHS ARE MEANT TO BE AN EXAMPLE ONLY. REPLACE THE TEXT WITH THE DESCRIPTION.

The site is characterized by gently to steeply sloping hillsides.  The natural slopes vary from 4:1 to 2:1 (horizontal to vertical); with more rugged areas of the site characterized by much steeper natural slopes 1.5:1 to 1:1. Localized areas of near vertical slopes exist in areas of rock outcrops.  Total relief across the project site is approximately X,XXX feet, ranging from elevation XXX to X,XXX.  Vegetation is sparse.

Under existing conditions, stormwater generally sheet flows southwesterly across the site.  There are two existing temporary desilting basins located along the southern side of the site:  one at the intersection of (xxxxxx) and (xxxxxx), the other on (xxxxxx) approximately 350 feet west of (xxxxxx) Channel.  Stormwater collected in the desilting basins as well as from the rest of the site is discharged to an existing underground storm drain system owned by (xxxxxx).  The site (does not or does) discharge directly into a water body that has been listed as impaired by sediment, for sedimentation/siltation or turbidity, on the most current version of the 303(d) list.

### Existing Soil Conditions

DESCRIBE SOIL CONDITIONS PAYING SPECIAL ATTENTION TO ANY PRIOR CONTAMINATION OR EXISTING INFRASTRUCTURE (I.E. EXISTING UTILITIES).  THE FOLLOWING PARAGRAPH IS MEANT TO BE AN EXAMPLE ONLY. REPLACE THE TEXT WITH THE DESCRIPTION.

According to the Geotechnical Review of Preliminary Grading Plan, dated Month XX, XXXX by Geotechnical Consultant, the project site is an undeveloped (xxxxxx).  Terrace deposits of both marine and non-marine origin cover the bedrock extensively throughout the site. The marine terrace materials consist of light brown to yellowish-brown, relatively clean sands and gravels with minor amounts of shell fragments.  These deposits are commonly composed of brown to dark brown silty clay, clayey silt, and sandy silt with minor to abundant amounts of siltstone and siliceous siltstone fragments with occasional irregular thin layers of sand, rounded pebbles, and cobbles.

Does the project contain known soil contaminants:

| Yes ☐ | No ☐ |
| --- | --- |

If the project does contain known soil contaminants all relevant documentation will be included in APPENDIX V. All areas of soil contamination must be illustrated on the WPCDs using specific hatching and callouts for each type of soil contamination found on-site.

## Proposed Conditions

INCLUDE: ADDRESS OR LOCATION OF THE PROJECT, AND TRACT NUMBERS, APPROXIMATE NUMBER OF ACRES.  THE FOLLOWING PARAGRAPHS ARE MEANT TO BE EXAMPLES ONLY. REPLACE THE TEXT WITH THE DESCRIPTION.

The project is located at (STREET ADDRESS). The proposed land uses will consist of (roadways and utilities, park, playground and associated facilities, new buildings, parking lots, sidewalks, landscaping, and associated facilities.)  Areas of undisturbed land will be retained as natural open space, and manufactured slopes greater than (XXX) feet high will be landscaped.

The project site currently consists of (XXX.X acres), and (XXX.X acres) of this will be disturbed, which consists of (XX%) of the total project size. Development of this project will be done in accordance with the conditions of the project environmental documents, etc.

### Project Drainage Patterns

THE FOLLOWING PARAGRAPH IS MEANT TO BE AN EXAMPLE ONLY. REPLACE THE TEXT WITH THE DESCRIPTION.

Stormwater will be directed to roadways, where it will be collected by a series of inlets, and then will enter a network of underground pipes.  This pipe network will eventually discharge water in (XXXX and XXXX).  Concrete energy dissipaters and/or riprap will protect all outlet points.

Project drainage areas and drainage patterns are depicted on the Water Pollution Control Drawings (WPCDs) in APPENDIX D.

| Table 2-1: Summary of Construction Site Characteristics |  |
| --- | --- |
| Estimated Size of Construction Area: | [XX Acre ] |
| Percentage of the Construction Site Area Impervious (Before Construction): | [0% ] |
| Percentage of the Construction Site Area Impervious (After Construction): | [0% ] |
| Estimate of Runoff Coefficient (Before Construction): | [0.XX] |
| Estimate of Runoff Coefficient (After Construction): | [0.XX] |

## Construction Site

The construction site (site) is the disturbed area where the construction activity is physically located, including staging, storage, and access areas. Areas designated for soil stockpile, waste management, vehicle storage and servicing, are also included in the construction site.  The construction site boundary along with the areas of planned soil disturbance are illustrated on the WPCDs located in APPENDIX D.

### Water Pollution Control Drawings (WPCDs)

Water Pollution Control Drawings (WPCDs) that were produced by the County are conceptual and are part of the Improvement Plans. WPCDs produced by the QSD are provided in APPENDIX D.

The WPCDs must include the required information listed in Section IV.O of the CGP.

The WPCDs must be prepared for each major phase of construction as described in the CGP. The major phases of construction are demolition and pre-development site preparation, grading and land development, streets and utilities, vertical construction, and final landscaping and site stabilization. Each WPCD should depict the BMPs as they appear during the individual phases. It is understood that grading activities will change daily.

A copy of the WPCDs must be displayed in the construction trailer or in an office where construction activities are being managed and overseen. This copy of the WPCDs is referred to as the “Wall Map” and must be marked up at a minimum during each weekly inspection by the project QSP/WPCM or QSP Delegate. The information to be marked up on the wall map includes, but is not limited to, the date and time of installation or maintenance of BMPs, locations of additional BMPs not illustrated on the WPCDs, temporary and permanent stabilization, areas removed or added via Change Of Information (COI).

The Wall Map must also illustrate the locations of the following (as applicable):

- Stockpiles,

- trailers,

- portable restrooms,

- dumpsters,

- concrete washouts; and

- other site features that may change location on a regular basis.

Wall Maps must represent the current phase of construction (i.e., demolition and pre-development site preparation, grading and land development, streets and utilities, vertical construction, and final landscaping and site stabilization).

The Wall Map (and any other marked-up WPCDs) will be considered Progress Maps. Once a Wall Map (or other marked up WPCDs) becomes too full to read it should be removed from the wall and must be retained with the SWPPP. A new copy of the Wall Map must be displayed and marked up.

### BMP Implementation Schedule

The BMP Implementation Schedule must be updated by the QSP/WPCM/QSP delegate as work progresses. The Wall Map should reflect the information listed in the BMP Implementation Schedule. A blank copy of the BMP Implementation Schedule is kept in APPENDIX C. Completed copies will be kept in APPENDIX C.

The overall construction schedule will also be kept in APPENDIX C as a separate document.

# Potential Pollutant Sources

## Site History (Pre-Existing Pollutant Sources)

THE FOLLOWING PARAGRAPH SHOULD ONLY BE INCLUDED IF ALL CONDITIONS ARE TRUE. REPLACE THE TEXT WITH THE DESCRIPTION.

No significant materials have been spilled, leaked, or otherwise accidentally released in significant quantities onto the construction site.  This assessment is based upon the best information available, including historic data for the site obtained during the initial investigations, environmental review, and the final design process.  In addition, geotechnical investigations performed on the site did not encounter any evidence of existing pollutant sources.  “No significant materials in significant quantities” includes no toxic chemicals listed in Code of Federal Regulation (40 CFR 372) requiring reporting on EPA Form R; and no oil or hazardous substances in excess of reportable quantities as specified in 40 CFR 110, 117, and 302.

However, if any materials are encountered, they will be listed in Table 3-1, and assessed in terms of their toxicity, significance, and effect on stormwater quality. Management procedures will be implemented immediately if it is determined that stormwater quality will be affected.

## Existing Post-Construction BMPS

MODIFY THIS SUB-SECTION IF THERE ARE EXISTING POST-CONSTRUCTION BMPS ON THE SITE.  BE SPECIFIC.  NOTE WHAT TYPE OF CONTROLS ARE BEING IMPLEMENTED, AND WHAT IS ITS PURPOSE.  WHAT TYPES OF CONSTITUENTS ARE THESE CONTROLS TREATING OR CONTAINING.  OTHERWISE, DEFAULT TO THE GIVEN SENTENCE. REPLACE THE TEXT WITH THE DESCRIPTION.

No post-construction BMPs presently exist at the site.

## Pollutants That May Affect Stormwater Quality

LIST CONSTRUCTION MATERIALS THAT WILL BE USED AND CONSTRUCTION ACTIVITIES THAT WILL HAVE THE POTENTIAL TO CONTRIBUTE TO THE DISCHARGE OF POLLUTANTS TO STORMWATER.

LIST CONSTRUCTION ACTIVITIES (I.E., CONSTRUCTION OR DEMOLITION ACTIVITY, INCLUDING, BUT NOT LIMITED TO, DEMOLITION, CLEARING, GRADING, GRUBBING, OR EXCAVATION) THAT HAVE THE POTENTIAL TO CONTRIBUTE SEDIMENT OR OTHER POLLUTANTS TO STORMWATER DISCHARGES.

DELETE PHASES THAT ARE NOT APPLICABLE TO PROJECT

INSERT AS MANY LINES TO TABLE 3-1 AS NECESSARY TO COMPLETE THE LIST, USE TABLE 3-1a BELOW TO ASSIST IN THE COMPLETION OF TABLE 3-1. ONCE TABLE 3-1 IS COMPLETE DELETE TABLE 3-1a. DO NOT DELETE BLANK LINES FROM TABLE 3-1.  THEY MAY BE USED BY THE QSP IN THE FIELD.

POLLUTANT CATEGORIES IDENTIFIED ARE CONSISTENT WITH THE CASQA BMP HANDBOOK: CONSTRUCTION: SEDIMENT, NUTRIENTS, BACTERIA AND VIRUSES, OIL AND GREASE, METALS, SYNTHETIC ORGANICS, PESTICIDES, GROSS POLLUTANTS, AND VECTOR PRODUCTION

Table 3-1 must be updated by the QSP/WPCM/QSP Delegate to reflect the potential pollutants, pollutant sources, construction activities, and locations on the site as work progresses.

Table 3-1: Potential Pollutant Source Assessment Form

| Phase | Activity | Associated Materials or Pollutants | Pollutant Category (1) | Location On-Site |
| --- | --- | --- | --- | --- |
| Demolition and Pre- Development Site Preparation Phase |  |  |  |  |
| Grading and Land Development |  |  |  |  |
| Streets and Utilities Phase |  |  |  |  |
| Vertical Construction Phase |  |  |  |  |
| Final Landscaping and Site Stabilization Phase |  |  |  |  |

(1) Categories per CASQA BMP Handbook, (October 2024) (i.e., Sediment, Nutrients, Bacteria and Viruses, Oil and Grease, Metals, Synthetic Organics, Pesticides, Gross Pollutants, and Vector Production)

USE TABLE 3-1a TO AID IN THE COMPLETION OF TABLE 3-1. DELTE TABLE 3-1a AFTER COMPLETION.

| Table 3-1a: Pollutants Associated With Construction Activities |  |  |
| --- | --- | --- |
| General Work Activity/ Products With Potential Stormwater Pollutants | Specific Work Activity/Products With Potential Stormwater Pollutants | Pollutant Categories |
| Adhesives | - Adhesives, glues, resins, epoxy synthetics, PVC cement - Caulks, sealers, putty, sealing agents and - Coal tars (naphtha, pitch) | Oil and Grease, Synthetic Organics1 |
| Asphalt paving/curbs | - Hot and cold mix asphalt | Oil and Grease |
| Cleaners | - Polishes (metal, ceramic, tile) - Etching agents - Cleaners, ammonia, lye, caustic sodas, bleaching agents and chromate salts | Metals, Synthetic Organics |
| Concrete / Masonry | - Cement and brick dust - Colored chalks - Concrete curing compounds - Glazing compounds - Surfaces cleaners - Saw cut slurries - Tile cutting | Metals, Synthetic Organics |
| Drywall | - Saw-cutting drywall | Metals |
| Framing/Carpentry | - Sawdust, particle board dust, and treated woods - Saw cut slurries | Metals, Synthetic Organics |
| Heating, Ventilation, Air Conditioning | - Demolition or construction of air condition and heating systems | Metals, Synthetic Organics |
| Insulation | - Demolition or construction involving insulation, venting systems | Metals, Synthetic Organics |
| Liquid waste | - Wash waters - Irrigation line testing/flushing | Metals, Synthetic Organics |
| Painting | - Paint thinners, acetone, methyl ethyl ketone, stripper paints, lacquers, varnish, enamels, turpentine, gum spirit, solvents, dyes, stripping pigments and sanding | Metals, Synthetic Organics |
| Planting / Vegetation Management | - Vegetation control (pesticides/herbicides) - Planting - Plant maintenance - Vegetation removal | Nutrients, Metals, Synthetic Organics |
| Plumbing | - Solder (lead, tin), flux (zinc chloride), pipe fitting - Galvanized metal in nails, fences, and electric wiring | Metals, Synthetic Organics |
| Pools/fountains | - Chlorinated water | Synthetic Organics |
| Removal of existing structures | - Demolition of asphalt, concrete, masonry, framing, roofing, metal structures. | Metals, Oil and Grease, Synthetic Organics |
| Roofing | - Flashing - Saw cut slurries (tile cutting) - Shingle scrap and debris | Metals, Oil and Grease, Synthetic Organics |
| Sanitary waste | - Portable toilets - Disturbance of existing sewer lines. | Nutrients |
| Soil preparation/amendments | - Use of soil additives/amendments | Nutrients |
| Solid waste | - Litter, trash and debris - Vegetation | Gross Pollutants |
| Utility line testing and flushing | - Hydrostatic test water - Pipe flushing | Synthetic Organics |
| Vehicle and equipment use | - Equipment operation - Equipment maintenance - Equipment washing - Equipment fueling | Oil and Grease |
| Building Demolition | - Demolition debris built between 1950-1980 - Demolition debris from buildings with lead paint | Lead PCBs |
| 1 Synthetic Organics are defined in Table 1.2 of the CASQA Stormwater BMP Handbook: Construction as adhesives, cleaners, sealants, solvents, etc. These are generally categorized as VOCs or SVOCs. |  |  |

# Best Management Practices (BMPs)

## General Description

This section identifies temporary Best Management Practices (BMPs) to be used for this site.  BMPs can include the scheduling of activities, prohibitions of practices, maintenance procedures, erosion control, sediment control, and other management practices that reduce or eliminate pollutants in stormwater discharges and authorized non-stormwater discharges.  BMP implementation must take into account changing weather conditions and construction activities, and various combinations of BMPs will be used over the life of the project to maintain compliance with CGP.  The CGP gives the owner the discretion to determine the most economical, effective, and possibly innovative BMPs to achieve the performance-based goals of the CGP.

Appended to this SWPPP are BMP fact sheets which provide detailed specifications and instructions for the installation and maintenance of BMPs.  Where specifications in the fact sheets conflict with those in the WPCDs, BMPs illustrated in the WPCDs govern. BMPs for the site must be implemented on a year-round basis. BMPs must be implemented in a proactive manner during all seasons while construction is occurring, as appropriate to protect water quality during the life of the project.

DETERMINE IF A STORMWATER MANAGEMENT PLAN (SWMP) HAS BEEN PREPARED FOR THE SITE, AND IF ONE HAS BEEN PREPARED, THEN ENSURE THAT BMPS IN THE SWPPP ARE CONSISTENT WITH THE BMPS LISTED IN THE SWMP (BOTH STRUCTURAL AND NON-STRUCTURAL AND BOTH POST-CONSTRUCTION AND DURING CONSTRUCTION).  ALSO CHECK THE ENVIRONMENTAL IMPACT REPORT (“EIR”) PREPARED FOR THE PROJECT TO ENSURE CONSISTENCY WITH ANY BMPS MANDATED BY THE EIR.

## Rain Event Action Plan (REAP)

The CGP does not require a Rain Event Action Plan (REAP) however, the County of San Diego Jurisdictional Runoff Management Program (JRMP) does require the preparation of a REAP for projects of all Risk Levels. A REAP must be designed so that when implemented it protects all exposed portions of the site within 48 hours of any likely precipitation event forecast of 50% or greater probability.  A REAP must be prepared when there is a 50% or greater probability of precipitation in the project area. An effective combination of BMPs must be implemented throughout the site. A REAP must be prepared for each individual 50% probability of precipitation. A blank copy of form CE 2040 Rain Event Action Plan Grading And Land Development/Street And Utilities/Vertical Construction Phase is kept in APPENDIX L. Completed copies of form CE 2040 Rain Event Action Plan Grading And Land Development/Street And Utilities/Vertical Construction Phase that are to be implemented during the various phases of the project should be kept in APPENDIX O.

## Preserve Existing Topsoil

Topsoil is the uppermost part of the soil profile, typically rich in organic matter, and is the most favorable material for plant growth. Preservation of native topsoil on-site is required when feasible, unless the intended function of a specific area of the site dictates that the topsoil be disturbed or removed.

Dischargers shall preserve existing topsoil, unless infeasible, through the following practices:

- Stockpiling existing topsoil, or transferring topsoil to other locations, to deploy and reestablish vegetation prior to termination of coverage; and

- Stabilizing disturbed topsoil during construction.

Possible reasons for topsoil disturbance or removal may include the removal of topsoil containing invasive seedbanks, lack of space to stockpile topsoil, and sites that are designed to be highly impervious after construction with little to no vegetation intended to remain.

THE NARRATIVE DESCRIPTION IN TABLE 4-1 MUST BE SITE SPECIFIC. DO NOT COPY AND PASTE BMP DESCRIPTIONS FROM PREVIOUS SWPPPS.  BMP USE, LOCATION, AND EFFECTIVENESS MUST BE CONSIDERED ON AN INDIVIDUAL BASIS FOR EACH PROJECT.

| Table 4-1: Preserve Existing Topsoil |  |  |  |  |
| --- | --- | --- | --- | --- |
| CALTRANS BMP No. | BMP | CHECK IF USED | DESCRIBE SITE-SPECIFIC BMP IMPLEMENTATION OR EXPLAIN NON-APPLICABILITY/ALTERNATIVE BMP |
| N/A | Preserve Existing Topsoil (minimum BMP for all projects) | ☐ |  |

## Surface Water Buffer

The surface water buffer requirements apply to work above the top-of-bank or highwater level of waters of the United States. Work within a channel or streambed (water body-dependent construction), Clean Water Act § 404 projects with a § 401 certification, and projects where no natural surface buffer exists (e.g., concrete channelization) are exempt from the requirements. All types of in-channel work may be regulated under § 401 (Clean Water Act - Regional Boards), § 404 (Clean Water Act - Army Corps of Engineers), or §1602 (California Fish and Game Code). A surface water buffer is a 50-foot undisturbed natural buffer from the edge of disturbed soil area(s) to any receiving water’s top of bank. Where surface water buffers cannot be maintained, The Construction General Permit requires compliance with one of the following:

- Provide and maintain an undisturbed natural buffer that is less than 50 feet

- Provide and maintain an undisturbed natural buffer that is less than 50 feet and is supplemented by erosion and sediment controls that achieve, in combination, the sediment load reduction equivalent to a 50-foot undisturbed natural buffer. The equivalent sediment load may be calculated using the Revised Universal Soil Loss Equation, version 2 (RUSLE2) or another method approved by the Regional Water Board.

- Implement erosion and sediment controls to achieve the sediment load reduction equivalent to a 50-foot undisturbed natural buffer when infeasible to provide and maintain an undisturbed natural buffer of any size. The equivalent sediment load may be calculated using RUSLE2 or another method approved by the Regional Water Board.

THE NARRATIVE DESCRIPTION IN TABLE 4-2 MUST BE SITE SPECIFIC. DO NOT COPY AND PASTE BMP DESCRIPTIONS FROM PREVIOUS SWPPPS.  BMP USE, LOCATION, AND EFFECTIVENESS MUST BE CONSIDERED ON AN INDIVIDUAL BASIS FOR EACH PROJECT. PROVIDE RUSLE2 CALCULATIONS FOLLOWING THE TABLE AS APPLICABLE.

| Table 4-2: Surface Water Buffer |  |  |  |  |
| --- | --- | --- | --- | --- |
| CALTRANS BMP No. | BMP | CHECK IF USED | DESCRIBE SITE-SPECIFIC BMP IMPLEMENTATION OR EXPLAIN NON-APPLICABILITY/ALTERNATIVE BMP |
| N/A | Surface Water Buffer (minimum BMP for all projects) | ☐ |  |

## Temporary Erosion Control BMPs

Temporary erosion control BMPs are the most effective type of BMP for minimizing sediment runoff from construction sites. All projects, regardless of Risk Level, are required to install and maintain effective temporary erosion controls throughout the entirety of construction. Attachment D Section II.D of the CGP describes the requirements for temporary erosion control for all traditional risk level projects. All projects must use temporary erosion control BMPs on exposed soils, especially prior to rain events, in conjunction with temporary sediment control BMPs.

All projects must implement the following minimum practices for effective temporary erosion control during construction:

- Implement effective wind erosion control;

- Preserve existing vegetation;

- Minimize the amount of soil exposed during construction activity;

- Minimize the disturbance of steep slopes;

- Schedule earthwork to minimize the amount of disturbed area when feasible;

- Immediately initiate stabilization for disturbed areas whenever earth disturbing activities have permanently ceased on any portion of the site, or temporarily ceased on any portion of the site and will not resume for a period exceeding 14 calendar days;

- Minimize soil compaction in areas other than where the intended function of a specific area dictates that it be compacted;

- Reestablish vegetation or non-vegetative erosion controls as soon as practicable;

- If feasible, divert up gradient run-on water from contacting areas of exposed soils disturbed by construction activities or convey run-on through the site in a manner that prevents erosion from areas of construction and does not compromise the effectiveness of erosion, sediment, and perimeter controls;

- Run-on water flowing onto a site from off-site areas may be separated from a site’s stormwater discharge to eliminate commingled contribution. Run-on diversion shall occur prior to entering an area affected by construction activity. Run-on flow diversion shall be conveyed through or around the construction activity in plastic pipe or an engineered conveyance channel in a manner that will not cause erosion due to flow diversion. Run-on combined with a site’s stormwater discharge is considered a stormwater discharge.

- Limit the use of plastic materials when more sustainable, environmentally friendly alternatives exist. Where plastic materials are deemed necessary, the degradation;

- Control stormwater and non-stormwater discharges to minimize downstream channel and bank erosion; and

- Control peak flowrates and total volume of stormwater and authorized non-stormwater discharges to minimize channel and streambank erosion and scour in the immediate vicinity of discharge points.

Sufficient temporary erosion control BMPs, (except for sprayed products) must be available on-site, or at a nearby location (e.g., common laydown yard) year-round with trained people able to deploy the products under the direction of the QSP/WPCM. This includes implementation requirements for active and non-active areas that require deployment before the onset of rain.

Implementation and locations of temporary erosion control BMPs are shown on the phased WPCDs in APPENDIX D and described in this section. The BMP Fact Sheets are kept in APPENDIX I of this SWPPP. The following temporary erosion control BMP consideration checklist indicates the BMPs that will be implemented to control erosion on the construction site. The following list of BMPs and narrative explains how the selected BMPs shall be incorporated into the project. The BMPs listed reference the Caltrans BMP ID. If using the CASQA BMP ID revise the references to match.

THE NARRATIVE DESCRIPTION IN TABLE 4-3 MUST BE SITE SPECIFIC. DO NOT COPY AND PASTE BMP DESCRIPTIONS FROM PREVIOUS SWPPPS.  BMP USE, LOCATION, AND EFFECTIVENESS MUST BE CONSIDERED ON AN INDIVIDUAL BASIS FOR EACH PROJECT.

| Table 4-3: Temporary Erosion Control BMPs |  |  |  |  |
| --- | --- | --- | --- | --- |
| CALTRANS BMP No. | BMP | CHECK IF USED | DESCRIBE SITE-SPECIFIC BMP IMPLEMENTATION OR EXPLAIN NON-APPLICABILITY/ALTERNATIVE BMP |
| N/A | Soil cover for inactive areas (minimum BMP for all projects) | ☐ |  |
| N/A | Runoff control and soil stabilization for active areas (required for Risk Level 2 and 3 projects) | ☐ |  |
| N/A | Limit use of plastic erosion control materials (minimum BMP for all projects) | ☐ |  |
| WE-1 | Wind Erosion Control | ☐ |  |
| SS-1 | Scheduling | ☐ |  |
| SS-2 | Preservation of Existing Vegetation | ☐ |  |
| SS-3 | Temporary Hydraulic Mulch | ☐ |  |
| SS-4 | Temporary Hydroseed | ☐ |  |
| SS-5 | Temporary Soil Binder | ☐ |  |
| SS-6 | Temporary Tacked Straw | ☐ |  |
| SS-7 | Temporary Cover and Rolled Erosion Control Products | ☐ |  |
| SS-8 | Temporary Mulch | ☐ |  |
| SS-9 | Earth Dikes/Drainage Swales & Lined Ditches | ☐ |  |
| SS-10 | Outlet Protection/ Velocity Dissipation Devices | ☐ |  |
| SS-11 | Slope Drains | ☐ |  |
| SS-12 | Streambank Stabilization | ☐ |  |

## Temporary Sediment Controls

Temporary sediment controls are BMPs that are intended to complement and enhance the temporary erosion control BMPs and reduce sediment ladened discharges from construction sites. A site cannot rely solely on temporary sediment control BMPs to meet the Numeric Action Levels (NALs) listed in the CGP. All projects must use temporary erosion control BMPs on exposed soils, especially prior to rain events, in conjunction with temporary sediment control BMPs.

Temporary sediment control BMPs must be installed at appropriate locations along the site perimeter and at operational internal inlets to the storm drain system at all times during the project, and indicated on each of the phased WPCDs in APPENDIX D.  Sediment control BMPs may also be installed at locations throughout the site and are not necessarily limited to the perimeter and operational internal inlets. Temporary sediment control BMPs must be deployed year-round.

All projects must implement the following minimum practices for effective temporary sediment control during construction:

- Establish and maintain effective perimeter controls;

- Stabilize all construction entrances and exits to sufficiently control erosion and sediment discharges from the site; and

- Design, install, and maintain effective sediment controls to minimize the discharge of pollutants utilizing site-specific BMPs.

Risk Level 2 and 3 projects must implement the following additional temporary erosion and sediment control BMPs for areas under active construction:

- Design and construct cut and fill slopes in a manner to ensure slope stability and to minimize erosion including, but not limited to, these practices:

- Reduce continuous slope length using terracing and diversions;

- Reduce slope steepness; and

- Roughen slope surfaces with large cobble or track walking.

- Install linear sediment controls along the toe of the slope, face of the slope, and at the grade breaks of exposed slopes according to sheet flow lengths as shown in Table 4-3 below, until the slope has reached NOT conditions for final stabilization. When infeasible to comply with Table 4-3 due to site-specific geology or topography, the QSD shall include in the SWPPP a justification for the use of an alternative method to protect slopes from erosion and sediment loss.

- Limit construction activity traffic to and from the project to entrances and exits that employ effective controls to prevent off-site tracking of sediment.

- Maintain and protect all storm drain inlets, perimeter controls, and BMPs at entrances and exits (e.g., tire wash off locations).

- Remove any excess sediment or other construction activity-related materials that are deposited on the impervious roads by vacuuming or sweeping prior to any precipitation event.

- Implement additional site-specific sediment controls upon written request by the RWQCB when the implementation of the other requirements in this section are determined to inadequately protect the site’s receiving water(s).

If sediment basins are constructed, they must be designed according to the CASQA BMP Handbook.

The following temporary sediment control BMP consideration checklist indicates the BMPs that will be implemented to control sediment on the construction site. Implementation and locations of temporary sediment control BMPs are shown on the WPCDs in APPENDIX D and described in this section. The BMP Fact Sheets are kept in APPENDIX I of this SWPPP. The following list of BMPs and narrative explains how the selected BMPs shall be incorporated into the project. The BMPs listed reference the Caltrans BMP ID. If using the CASQA BMP ID revise the references to match.

THE NARRATIVE DESCRIPTION IN TABLE 4-4 MUST BE SITE SPECIFIC. DO NOT COPY AND PASTE BMP DESCRIPTIONS FROM PREVIOUS SWPPPS.  BMP USE, LOCATION, AND EFFECTIVENESS MUST BE CONSIDERED ON AN INDIVIDUAL BASIS FOR EACH PROJECT.

| Table 4-4: Temporary Sediment Control BMPs |  |  |  |  |
| --- | --- | --- | --- | --- |
| CALTRANS BMP No. | BMP | CHECK IF USED | DESCRIBE SITE-SPECIFIC BMP IMPLEMENTATION OR EXPLAIN NON-APPLICABILITY/ALTERNATIVE BMP |
| SC-1 | Temporary Silt Fence | ☐ |  |
| SC-2 | Sediment/Desilting Basin | ☐ |  |
| SC-3 | Temporary Sediment Trap/Curb Cutback | ☐ |  |
| SC-4 | Temporary Check Dam | ☐ |  |
| SC-5 | Temporary Fiber Rolls | ☐ |  |
| SC-6 | Temporary Gravel Bag/Earthen Berm | ☐ |  |
| SC-7 | Street Sweeping | ☐ |  |
| SC-8 | Sandbag Barrier | ☐ |  |
| SC-9 | Temporary Straw Bale Barrier | ☐ |  |
| SC-10 | Temporary Drainage Inlet Protection | ☐ |  |
| SC-11 | Temporary Compost Sock | ☐ |  |
| SC-12 | Temporary Foam Barrier | ☐ |  |

| Table 4-3: Critical Slope and Sheet Flow Length Combinations for Linear Sediment Reduction Barrier |  |
| --- | --- |
| Slope Ratio (Vertical to Horizontal) | Sheet flow length not to exceed |
| < 1:20 | Per QSD’s specification |
| >1:20 to < 1:4 | 35 feet |
| > 1:4 to < 1:3 | 20 feet |
| > 1:3 to < 1:2 | 15 feet |
| > 1:2 | 10 feet |

## Temporary Tracking Controls

All projects must maintain effective tracking controls at each site entrance and exit. All projects are required to stabilize all construction entrances and exits to sufficiently control sediment track-out from the site. Site entrances and exits must be strictly controlled to prevent vehicles or equipment from tracking sediment off-site. Street sweeping can be implemented with machinery or by hand and must be conducted in a manner that does not result in unauthorized non-stormwater discharges.

The following tracking control BMP consideration checklist indicates the BMPs that will be implemented to prevent sediment tracking from the construction site onto private or public roads. Implementation and locations of sediment tracking BMPs are shown on the WPCDs in APPENDIX D and described in this section. The BMP Fact Sheets are kept in APPENDIX I of this SWPPP. The following list of BMPs and narrative explains how the selected BMPs shall be incorporated into the project. The BMPs listed reference the Caltrans BMP ID. If using the CASQA BMP ID revise the references to match.

THE NARRATIVE DESCRIPTION IN TABLE 4-5 MUST BE SITE SPECIFIC. DO NOT COPY AND PASTE BMP DESCRIPTIONS FROM PREVIOUS SWPPPS.  BMP USE, LOCATION, AND EFFECTIVENESS MUST BE CONSIDERED ON AN INDIVIDUAL BASIS FOR EACH PROJECT.

| Table 4-5: Temporary Tracking Control BMPs |  |  |  |
| --- | --- | --- | --- |
| CALTRANS BMP No. | BMP | CHECK IF USED | DESCRIBE SITE-SPECIFIC BMP IMPLEMENTATION OR EXPLAIN NON-APPLICABILITY/ALTERNATIVE BMP |  |
| TC-1 | Stabilized Construction Entrance/Exit | ☐ |  |  |
| TC-2 | Stabilized Construction Roadway | ☐ |  |  |
| TC-3 | Entrance/Outlet Tire Wash | ☐ |  |  |
| SC-7 | Street Sweeping | ☐ |  |  |

## Wind Erosion Control BMPs

The following wind erosion control BMP consideration checklist indicates the BMPs that will be implemented to control wind erosion on the construction site. Implementation and locations of wind erosion control BMPs are shown on the WPCDs in APPENDIX D and described in this section. The BMP Fact Sheets are kept in APPENDIX I of this SWPPP. The following list of BMPs and narrative explains how the selected BMPs shall be incorporated into the project. The BMPs listed reference the Caltrans BMP ID. If using the CASQA BMP ID revise the references to match.

THE NARRATIVE DESCRIPTION IN TABLE 4-6 MUST BE SITE SPECIFIC. DO NOT COPY AND PASTE BMP DESCRIPTIONS FROM PREVIOUS SWPPPS.  BMP USE, LOCATION, AND EFFECTIVENESS MUST BE CONSIDERED ON AN INDIVIDUAL BASIS FOR EACH PROJECT.

| Table 4-6: Temporary Wind Erosion Control BMPs |  |  |  |
| --- | --- | --- | --- |
| CALTRANS BMP No. | BMP | CHECK IF USED | DESCRIBE SITE-SPECIFIC BMP IMPLEMENTATION OR EXPLAIN NON-APPLICABILITY/ALTERNATIVE BMP |
| WE-1 | Wind Erosion Control | ☐ |  |
| TC-1 | Stabilized Construction Entrance/Exit | ☐ |  |
| TC-2 | Stabilized Construction Roadway | ☐ |  |
| SC-7 | Street Sweeping | ☐ |  |
| SS-3 | Temporary Hydraulic Mulch | ☐ |  |
| SS-4 | Temporary Hydroseeding | ☐ |  |
| SS-5 | Temporary Soil Binder | ☐ |  |
| SS-6 | Temporary Tacked Straw | ☐ |  |
| SS-7 | Temporary Cover and Rolled Erosion Control Products | ☐ |  |
| SS-8 | Temporary Mulch | ☐ |  |
| WM-3 | Stockpile Management | ☐ |  |

## Non-Stormwater Management BMPs

The following non-stormwater management BMP consideration checklist indicates the BMPs that have been selected to control non-stormwater discharges from the construction site. Implementation and locations of non-stormwater control BMPs are shown on the WPCDs in APPENDIX D. The BMP Fact Sheets are kept in APPENDIX I of this SWPPP. The following list of BMPs and narrative explains how the selected BMPs shall be incorporated into the project. The BMPs listed reference the Caltrans BMP ID. If using the CASQA BMP ID revise the references to match.

Minimum BMPs

The following are minimum BMPs oriented to non-stormwater sources associated with equipment, materials, waste, and activities that may influence or produce non-stormwater discharges. These minimum BMPs are derived from minimum BMPs described in Attachment D of the CGP. Some of these minimum BMPs include County of San Diego specific concerns. These minimum BMPs are required for all Risk Level 1, 2 and 3 projects. The following minimum BMPs are viewed as mandatory, and lack of implementation could be viewed as deficiencies requiring corrective action.

All equipment operating with fuel, oil and grease, antifreeze, and other fluids must be stored in designated areas (with appropriate spill kits within proximity) and will be stored with drip pans or trays under parts with potential for leaks and drips when not in use.

Fluid and semi-fluid materials used in construction must be stored within secondary containment according to the BMP Fact Sheets.

Concrete waste that involves cementitious rinse water or cementitious material that has not cured must be disposed of in appropriate washouts.

Wastewater and rinse water influenced by cementitious materials and waste must not be discharged or spilled onto underlying soil or the surrounding areas.  Washout areas shall be covered prior to and during a precipitation event.

If dewatering activity is expected to produce discharge off of the site a Dewatering Plan will be required to be prepared. The Dewatering Plan must meet the requirements of Attachment J of the CGP. Dewatering discharge must be sampled and meet the NALs for pH and turbidity for projects of all Risk Levels. Sampling results of dewatering discharge must be documented on form CE 2064 Dewatering Operations Sampling Report. A blank copy of form CE 2064 Dewatering Operations Sampling Report is kept in APPENDIX L. Site specific Dewatering Plans and completed form CE 2064 Dewatering Operations Sampling Report will be kept in APPENDIX U, if applicable.

THE NARRATIVE DESCRIPTION IN TABLE 4-7 MUST BE SITE SPECIFIC. DO NOT COPY AND PASTE BMP DESCRIPTIONS FROM PREVIOUS SWPPPS.  BMP USE, LOCATION, AND EFFECTIVENESS MUST BE CONSIDERED ON AN INDIVIDUAL BASIS FOR EACH PROJECT.

| Table 4-7: Non-Stormwater Management BMPs |  |  |  |
| --- | --- | --- | --- |
| CALTRANS BMP No. | BMP | CHECK IF USED | DESCRIBE SITE-SPECIFIC BMP IMPLEMENTATION OR EXPLAIN NON-APPLICABILITY/ALTERNATIVE BMP |
| NS-1 | Water Conservation Practices | ☐ |  |
| NS-2 | Dewatering | ☐ |  |
| NS-3 | Paving, Sealing, Saw Cutting, Grooving, and Grinding Activities | ☐ |  |
| NS-4 | Temporary Stream Crossing | ☐ |  |
| NS-5 | Temporary Creek Diversion Systems | ☐ |  |
| NS-6 | Illegal Connection and Illicit Discharge Detection and Reporting | ☐ |  |
| NS-7 | Potable Water/Irrigation | ☐ |  |
| NS-8 | Vehicle and Equipment Cleaning | ☐ |  |
| NS-9 | Vehicle and Equipment Fueling | ☐ |  |
| NS-10 | Vehicle and Equipment Maintenance | ☐ |  |
| NS-11 | Pile Driving | ☐ |  |
| NS-12 | Concrete Curing | ☐ |  |
| NS-13 | Material and Equipment Use Over Water | ☐ |  |
| NS-14 | Concrete Finishing | ☐ |  |
| NS-15 | Structure Removal Over or Adjacent to Water | ☐ |  |

## Waste Management and Materials Pollution Control BMPs

The following waste management and materials pollution control BMP consideration checklist indicates the BMPs that have been selected to control construction site waste and materials. Implementation and locations of waste management and materials pollution control BMPs are shown on the WPCDs in APPENDIX D. The BMP Fact Sheets are kept in APPENDIX I of this SWPPP. The following list of BMPs and narrative explains how the selected BMPs shall be incorporated into the project. The BMPs listed reference the Caltrans BMP ID. If using the CASQA BMP ID revise the references to match.

### General Spill Prevention and Control

This section discusses general advice for spill prevention and control. More specific directions pertaining to the handling of pesticides, petroleum products, nutrients, and construction chemicals can be provided by the product manufacturers.

Trained personnel should be assigned to respond to any spill that may occur on the project site. A spill response and implementation plan must be prepared by the contractor to be site and product specific. Responsible personnel for spill response are listed in Table 4-7 below. All project sites must have a spill kit readily available and appropriately stocked for the anticipated pollutants on each site. Each site may have multiple spill kits based on the pollutants on the project site and the size of the project site.

Contractors and subcontractors should be educated on potential dangers to humans and the environment from spills and leaks. Training regarding spill prevention and control must be documented on form CE 2030 Stormwater Training Record.

Any water that is used for cleaning must not be allowed to enter storm drains or discharge off of the project site.

| Table 4-8: Spill Response Personnel |  |  |
| --- | --- | --- |
| Name | Company | Phone Number |

### Insignificant Spills

Minor spills are those that are likely to be controlled by on-site personnel. The following actions should occur upon discovery of a minor spill:

- Contain the spread of the spill.

- If the spill occurs on paved or impermeable surfaces, clean up using dry methods (i.e., absorbent materials, cat litter, and/or rags).

- If the spill occurs on a pervious surface, immediately contain the spill by constructing an earthen dike. Dig up and properly dispose of contaminated soil.

- If the spill occurs during rain, the affected area should be covered and a berm placed around the area to avoid contact with stormwater. The spilled material should be cleaned up as soon as possible without exposing it to stormwater.

- Record all steps taken to report and contain the spill.

### Significant Spills

On-site personnel should not attempt to control major spills until the appropriate and qualified emergency response staff has arrived at the site. Notify the State Office of Emergency Services (OES) at (800) 852-7550 when there is a hazardous spill or one may occur. For spills of Federal reportable quantities, notify the national response center at (800) 424-8802 also. A written report should be sent to all notified authorities and kept in APPPENDIX X of the SWPPP. Failure to report significant spills can result in fines and penalties.

A copy of instructions for emergency spill notification from the Governor’s Office of Emergency Services and the Emergency Release Follow-Up Notice Reporting Form has been provided within APPENDIX X.  The list of reportable quantities can be found at https://www.ecfr.gov/current/title-40/chapter-I/subchapter-D/part-117/subpart-A/section-117.3

| Table 4-9: Major Spills Priority Action List |  |  |
| --- | --- | --- |
| Priority | Agency | Contact |
| 1 | Fire Department | 9-1-1 |
| 2 | County Hazardous Materials Management Division | (858) 505-6657 |
| 3 | California Emergency Management Agency | (916) 262-1621 |
| 4 | Regional Stormwater Pollution Prevention Hotline | (888) 846-0800 |
| …for large spills on California Highways | California Highway Patrol | 9-1-1 |
| … large spills over Federal Comprehensive Environmental Response, Compensation, and Liability Act (CERCLA) Reportable Quantities | National Response Center | (800) 424-8802 |
| … large spills in or near marine waterways | National Response Center | (800) 424-8802 |
| …large spills harmful to workers | Cal/OSHA San Diego | (619) 767-2280 |
| … hazardous waste tank system releases | Dept. of Toxic Substances San Diego Field Office | (619) 516-1982 x 1983 |

### Non-Hazardous Waste Landfills

The following is a list of non-hazardous waste disposal sites in San Diego County that accept non-hazardous waste:

| Table 4-10: Non-Hazardous Waste Landfills |  |
| --- | --- |
| Landfill | Operator/Business Owner |
| Miramar Landfill | City of San Diego |
| Sycamore Landfill | Republic Services |
| Otay Landfill | Republic Services |

Individual landfills should be contacted to determine operating hours, the types of waste accepted, and other pertinent details.

### Hazardous Wastes (Gas, Oil, Chemicals, etc.)

The management of hazardous waste is governed by regulations found in California Code of Regulations, Title 22, Sections 66250 et.seq. Questions regarding the disposal of hazardous waste should be directed to County of San Diego Environmental Health and Quality Department Hazardous Materials Division (858) 505-6880 or the County of San Diego Department of Environmental Health and Quality Solid Waste and Composting email at lwqduty.deh@sdcounty.ca.gov

Stormwater and non-stormwater discharges associated with this project shall not contain hazardous substances equal to or in excess of reportable quantities established in 40 C.F.R. §§ 117.3 and 302.4, unless a separate NPDES Permit has been issued to regulate those discharges.

Proper storage, clean up, and spill reporting instructions for hazardous materials stored or used on the project site shall be posted at all times in an open, conspicuous, and accessible location.

THE NARRATIVE DESCRIPTION IN TABLE 4-11 MUST BE SITE SPECIFIC. DO NOT COPY AND PASTE BMP DESCRIPTIONS FROM PREVIOUS SWPPPS.  BMP USE, LOCATION, AND EFFECTIVENESS MUST BE CONSIDERED ON AN INDIVIDUAL BASIS FOR EACH PROJECT.

| Table 4-11: Waste Management and Materials Pollution Control BMPs |  |  |  |
| --- | --- | --- | --- |
| CALTRANS BMP No. | BMP | CHECK IF USED | DESCRIBE SITE-SPECIFIC BMP IMPLEMENTATION OR EXPLAIN NON-APPLICABILITY/ALTERNATIVE BMP |
| WM-1 | Material Delivery and Storage | ☐ |  |
| WM-2 | Material Management | ☐ |  |
| WM-3 | Stockpile Management | ☐ |  |
| WM-4 | Spill Prevention and Control | ☐ |  |
| WM-5 | Solid Waste Management | ☐ |  |
| WM-6 | Hazardous Waste Management | ☐ |  |
| WM-7 | Contaminated Soil Management | ☐ |  |
| WM-8 | Concrete Residuals and Washout Management | ☐ |  |
| WM-9 | Sanitary and Septic Waste Management | ☐ |  |
| WM-10 | Liquid Waste Management | ☐ |  |

## Offsite Stormwater Run-On

Anticipated drainage patterns following the completion of major grading activities are shown on the construction phase WPCDs in APPENDIX D. The potential for offsite stormwater run-on must be assessed for the various phases of construction. For example, run-on may not be a concern until later in construction when sections are re-graded, or perimeter curb and gutter are removed.  Run-on from offsite areas should be prevented from flowing through areas that have been disturbed by construction unless appropriate conveyance systems are in place, or the collective runoff shall be in compliance with the NALs set forth in the CGP. Calculations for anticipated stormwater run-on are kept in APPENDIX H.

Run-on from offsite areas currently occurring:				☐ Yes  ☐ No

Run-on potential is possible under future Phases of construction:	☐ Yes  ☐ No

THE NARRATIVE DESCRIPTION IN TABLE 4-12 MUST BE SITE SPECIFIC. DO NOT COPY AND PASTE BMP DESCRIPTIONS FROM PREVIOUS SWPPPS.  BMP USE, LOCATION, AND EFFECTIVENESS MUST BE CONSIDERED ON AN INDIVIDUAL BASIS FOR EACH PROJECT.

| Table 4-12: Temporary Diversion BMPs |  |  |  |
| --- | --- | --- | --- |
| CALTRANS BMP No. | BMP | CHECK IF USED | DESCRIBE SITE-SPECIFIC BMP IMPLEMENTATION OR EXPLAIN NON-APPLICABILITY/ALTERNATIVE BMP |
| SS-9 | Earth Dikes/Drainage Swales and Lined Ditches | ☐ |  |
| SS-10 | Outlet Protection/ Velocity Dissipation Devices | ☐ |  |
| SS-11 | Slope Drains | ☐ |  |
| SC-1 | Silt Fence | ☐ |  |
| SC-6 | Gravel Bag Berm/Earthen Berm | ☐ |  |
|  | (other) | ☐ |  |
|  | (other) | ☐ |  |
|  | (other) | ☐ |  |

## Other BMP Considerations

### Pesticide Application

Only apply pesticides that have been authorized for use through California Department of Pesticide Regulation. The application of pesticides shall follow manufacturer’s guidance. Use of pesticides will be subject to Resident Engineer approval.

### Demolition of Existing Structure

Demolition materials should be covered with an impermeable barrier such as, but not limited to, plastic sheeting prior to precipitation to prevent known contaminants from being mobilized. Dischargers unable to cover demolished material that were not previously investigated or found to be absent of applicable pollutants in reportable quantities shall sample for any non-visible pollutants that may be in stormwater discharges such as, but not limited to, asbestos, leaded paint, or Poly Chlorinated Biphenyls (PCBs). PCBs were used between January 1, 1950 and January 1, 1980 and should be considered to be potentially present in structures built during that timeframe.

### Maintenance and Repair

Within 72 hours of identification of failures or other shortcomings, the Contractor is required to begin maintaining, repairing, and/or implementing design changes (reviewing alternatives that have not been used yet) to BMPs and complete the changes as soon as possible, prior to the next forecasted precipitation event. A QSP/WPCM shall verify all BMP maintenance and repairs were appropriately implemented during the next visual inspection following completion. The QSP may delegate BMP maintenance and repair verification to an appropriately trained delegate.

# Post-Construction Requirements

Post-construction water quality relies on the implementation of source control BMPs and structural treatment BMPs. Source control emphasizes the prevention and/or reduction of non-point pollution by reducing the opportunity for pollutants on the land surface to enter surface runoff. Post-construction structural treatment BMPs are permanent BMPs that reduce, or eliminate, pollutants in stormwater. Both source control and structural post-construction BMPs require maintenance to operate properly. The long-term maintenance plan is referenced in Section 1.5.2 of this SWPPP and must be included as part of the NOT.

## Post-Construction Requirements for County Areas Outside of Phase I and Phase II MS4 Permit Coverage

Areas within San Diego County that are outside the coverage of a Phase I or Phase II Municipal Separate Storm Sewer System (MS4) Permit are required to comply with specific post construction discharge standards. The purpose of these standards is to sustain the physical and biological integrity of aquatic ecosystems. Furthermore, these requirements are meant to protect watersheds and waterbodies from the hydrologic and pollution impacts associated with post construction conditions. This protection is meant to primarily be done by non-structural means and is to be accomplished by the following:

- Replication of the Pre-Construction Water Balance for storms up to and including the 85th Percentile

- Preservation of the existing drainage density for project sites equal to or greater than 2 acres of disturbance

Calculations to demonstrate compliance with these requirements as well as justification for the use of structural measures to achieve them can be found in APPENDIX R.

# Construction Site Monitoring Program (CSMP)

The collection and handling of water samples requires care to ensure the integrity and validity of the samples. The CSMP encompasses the Sampling and Analysis Plan (SAP) required by the County pursuant to the Water Pollution Control Specification. This CSMP will be amended, if necessary, as risk level requirements, or site conditions change. The techniques and methodologies for collection of stormwater and analyses of water quality constituents are briefly described in this CSMP; other specific details should be referred to sampling and analysis guidance developed by the U.S. Environmental Protection Agency (EPA), and the Surface Water Ambient Monitoring Program’s (SWAMP) information on sample collection and analysis and Standard Methods for Examination of Water and Wastewater, available at http://www.waterboards.ca.gov/water_issues/programs/swamp/

For Risk Level 2 and 3 projects effluent will be specifically sampled and analyzed in the field for compliance with the CGP NALs for pH and turbidity.

## Monitoring Exceptions

A discharger is not required to collect samples or conduct visual observations under the following conditions:

- During dangerous weather conditions such as electrical storms, flooding, and high winds above 40 miles per hour;

- Outside of scheduled site operating hours; or

- When the site is not accessible to personnel.

All samples and/or visual inspections that are not conducted based on the conditions above, must be documented using the form CE 2020 Stormwater Site Inspection Report. A blank copy of form CE 2020 Stormwater Site Inspection Report is kept in APPENDIX L. Completed copies of form CE 2020 Stormwater Site Inspection Report will be kept in APPENDIX M.

## CSMP Goals and Objectives

This CSMP has been prepared to meet the requirements of the CGP including the following:

- Visual inspection locations, inspection procedures, and follow-up tracking procedures

- Applicable sampling locations, collection, and handling procedures which include detailed procedures for field analysis, sample collection, storage, preservation, and shipping to the laboratory to ensure consistent quality assurance and control is maintained

- A copy of the Chain of Custody form used when handling and shipping samples to a laboratory

- Identification of the analytical methods and related method detection limits (if applicable) for each parameter.

## Roles/Responsibilities for Stormwater Monitoring

### QSP/WPCM Responsibilities

The QSP/WPCM is required to oversee the implementation of the CSMP, including all visual observation inspections and any sampling that may be required due to possible non-visible pollutant discharges; and which is required for Risk Level 2 and 3 effluent sampling for pH and turbidity.

If a third party contracted QSP/WPCM will conduct sampling, then the Contractor must ensure all CGP sampling obligations are met within the agreement between the Contractor and the third party contracted QSP/WPCM.

The QSP/WPCM will maintain responsibility for the monitoring effort, non-stormwater and stormwater visual observations, sampling and analysis, full compliance with the CGP, and implementation of all elements of the SWPPP. The QSP/WPCM shall be responsible for the following tasks:

- Conduct all the required visual inspections.

- Perform, supervise, or inspect the implementation of repairs or design changes to BMPs within 72 hours of identification of failures or shortcomings, or sooner in event of rain.

- Calibrate field pH meter and turbidity meter according to manufacturer’s specifications and prior to analytical use – calibration information is documented on form CE 2053 Storm Event & Non-Stormwater Sampling Report. A blank copy of form CE 2053 Storm Event & Non-Stormwater Sampling Report is kept in APPENDIX L. Completed copies should be kept in APPENDIX N.

- Serve as primary contact with the analytical laboratory regarding sampling/analytical issues and to coordinate sample delivery to the analytical laboratory of potential non-visible pollutant samples.

- Conduct sample collection.

- Be responsible for site hazards and safety information related to conducting visual observations or sample collection, particularly in inclement weather.

- Ensure that proper documentation is recorded.

- Ensure that QA/QC procedures are followed.

- Visual monitoring/observations regarding Qualifying Precipitation Events (QPE)

- Weekly monitoring/observations of all BMPs

- Non-stormwater discharge monitoring

- Non-visible pollutant source monitoring

- Proper documentation of all inspections

### QSD Responsibilities

The QSD is required to assess how construction activities will affect sediment transport, erosion, and other discharges of pollutants in stormwater runoff during the SWPPP design process (if the QSD is the same for the development of the SWPPP and implementation of the SWPPP) and implementation. The QSD is required to revise the SWPPP to address potential problems identified by visual inspections, sampling data, comments from a QSP/WPCM/QSP delegate, or their own site observations.

The QSD must perform the following on-site visual inspections:

- Within 30 days of construction activities commencing on a site;

- Within 30 days of the discharger replacing the QSD;

- Twice annually, once August through October and once January through March;

- Within 14 calendar days after an NAL exceedance; and

- Within the time period requested in writing from Water Board staff.

A QSD may perform the work of a QSP/WPCM/QSP delegate, but the QSP/WPCM/QSP delegate may not perform the work of a QSD/WPCM.

### Primary Qualified Sampling Personnel

Sampling personnel shall be the QSP/WPCM/QSP delegate and be trained to collect, maintain, and ship samples to a laboratory in accordance with the Surface Water Ambient Monitoring Program (SWAMP) Quality Assurance Program Plan (QAPrP).

The following primary sampler will perform stormwater sampling and field analysis:

| Table 6-1: Primary Stormwater Sampler |  |
| --- | --- |
| Name: |  |
| Title: |  |
| Company: |  |
| Address: |  |
| Phone Number: |  |
| Emergency Phone Number (24/7) |  |
| Email Address: |  |

The primary stormwater sampler is required to have received stormwater sampling training. List the training in Table 6-2.

Table 6-2: Primary Stormwater Sampler Training

The primary stormwater sampler is required to have stormwater sampling experience. List the experience in Table 6-3.

Table 6-3: Primary Stormwater Sampler Experience

### Alternate Qualified Sampling Personnel

Stormwater sampling and field analysis may be performed by an alternate stormwater sampler who has been properly trained. List the alternate stormwater sampling personnel in Table 6-4.

| Table 6-4: Alternate Stormwater Sampler |  |
| --- | --- |
| Name: |  |
| Title: |  |
| Company: |  |
| Address: |  |
| Phone Number: |  |
| Emergency Phone Number (24/7) |  |
| Email Address: |  |

The alternate stormwater sampler is required to have received stormwater sampling training. List the training in Table 6-5.

Table 6-5: Alternate Stormwater Sampler Training

The alternate stormwater sampler is required to have stormwater sampling experience. List the experience in Table 6-6.

Table 6-6: Alternate Stormwater Sampler Experience

## Visual Inspections

This Construction Site Monitoring Program includes conducting site visual monitoring inspections of the project site to address the following objectives:

- Determine whether non-visible pollutants are present at the construction site and are causing or contributing to exceedances of water quality objectives;

- Determine whether BMPs included in the SWPPP are effective in preventing or reducing pollutants in stormwater discharges and authorized non-stormwater discharges;

- Determine whether BMPs are effective in preventing or reducing pollutants in stormwater discharges and authorized non-stormwater discharges;

- Demonstrate that the site is in compliance with the discharge prohibitions and applicable NALs and Receiving Water Monitor Triggers of the CGP;

- Determine whether immediate corrective actions, additional BMP implementation, or SWPPP amendments are necessary to reduce pollutants in stormwater and authorized non-stormwater discharges;

- Demonstrate that the site is in compliance with the discharge prohibitions; and

- Document the presence or evidence of any non-stormwater discharge (authorized or unauthorized), pollutant characteristics (floating and suspended material, sheen, discoloration, turbidity, odor, etc.), and source, if applicable, and the response taken to eliminate unauthorized non-stormwater discharges and to reduce or prevent pollutants from contacting non-stormwater discharges.

The QSP/WPCM will conduct visual inspections in compliance with the CGP and CSMP.

The QSP/WPCM must complete a form CE2020 Stormwater Site Inspection Report during each visual inspection.

A blank copy of form CE 2020 Stormwater Site Inspection Report is kept in APPENDIX L. Completed copies of form CE 2020 Stormwater Site Inspection Report will be kept in APPENDIX M.

If corrective actions are noted on form CE 2022 Stormwater Site Inspection Report Corrective Actions Summary must be completed and attached to the corresponding form CE 2020 Stormwater Site Inspection Report and kept in APPENDIX M. A blank copy of form CE 2022 Stormwater Site Inspection Report Corrective Actions Summary is kept in APPENDIX L.

Visual Inspections must be conducted according to Table 6-7 below:

| Table 6-7: Visual Inspection Schedule |  |  |  |  |
| --- | --- | --- | --- | --- |
| Risk Level | Weekly | Pre-Qualifying Precipitation Event | During Qualifying Precipitation Event | Post-Qualifying Precipitation Event |
| 1 | X | X | X | X |
| 2 | X | X | X | X |
| 3 | X | X | X | X |

The CGP requires that BMPs be inspected:

- Weekly (Routine);

- Prior to a Qualifying Precipitation Event (Pre-Qualifying Precipitation Event);

- Once each 24-hour period during extended storm events (During Qualifying Precipitation Event);

- After each Qualifying Precipitation Event that produces 0.5 inches or greater of precipitation as measured by the on-site rain gauge (Post-Qualifying Precipitation Event);

- During discharge sampling and/or observations (If sampling occurs use form CE 2053 Storm Event & Non-Stormwater Sampling Report. If discharge occurs use form CE2060 Notice of Discharge Report (High Level Non-Compliance). A blank copy is kept in APPENDIX L, completed copies should be kept in APPENDIX N; and

The purpose of these inspections is to:

- Identify if BMPs were adequately designed, implemented, and effective;

- Identify BMPs that require repair or replacement due to damage; and

- Identify additional BMPs that need to be implemented and revise the SWPPP accordingly

If deficiencies are identified during a visual inspection, maintenance, repairs, and/or design changes to the BMPs and the SWPPP, if applicable, shall be initiated within 72 hours of identification and need to be completed as soon as possible.  If BMP repairs or maintenance are indicated in pre-storm or during storm inspections, repairs should be made as soon as possible to deter potential unauthorized discharges, discharges that may trigger non-visible pollutant sampling, or discharges that may exceed pH and turbidity NALs (if applicable). BMP deficiencies will require documentation on form CE 2022 Corrective Actions Summary. A blank copy of form CE 2022 Stormwater Site Inspection Report Corrective Actions Summary is kept in APPENDIX L.

## Visual Observation Inspections of Qualifying Precipitation Events

### Pre-Qualifying Precipitation Event Inspections

Pre-Qualifying Precipitation Event inspection within 72 hours prior to any weather pattern that is forecasted to have a 50 percent or greater chance of 0.5 inches or more in a 24-hour period. Precipitation forecast information shall be obtained from the National Weather Service Forecast Office (e.g., by entering the zip code of the project’s location at https://www.weather.gov/ ) and must be included as part of the inspection checklist. If extended forecast precipitation data (greater than three days) is available from the National Weather Service, the pre-precipitation event inspection may be done up to 120 hours in advance. The pre-Qualifying Precipitation Event inspection shall include an inspection of the following:

- All stormwater drainage areas to identify leaks, spills, or uncontrolled pollutant sources and when necessary, implement appropriate corrective actions to control pollutant sources.

- All BMPs to identify whether they have been properly implemented in accordance with the SWPPP, and when necessary, implement appropriate corrective actions to control pollutant sources.

- All stormwater storage and containment areas to detect leaks and check for available capacity to prevent overflow.

### During Qualifying Precipitation Event Inspections

Visual inspections must be conducted at least once every 24-hour period during Qualifying Precipitation Events. Qualifying Precipitation Events are extended for each subsequent 24-hour period forecast to have at least 0.25 inches of precipitation.

### Post-Qualifying Precipitation Event Inspections

Post-Qualifying Precipitation Event inspections within 96 hours after each Qualifying Precipitation Event if 0.5 inches or more precipitation is measured during the duration of the Qualifying Precipitation Event using the onsite rain gauge. The inspection is to:

- Identify if BMPs were adequately designed, implemented, and effective;

- Identify BMPs that require repair or replacement due to damage; and

- Identify additional BMPs that need to be implemented and revise the SWPPP accordingly.

The QSP/WPCM shall maintain on-site records of all visual observations, personnel performing the observations, observation dates, weather conditions, locations observed, and corrective actions taken in response to the observations. Blank copies of form CE 2020 Stormwater Site Inspection Report and form CE 2022 Corrective Actions Summary are kept in APPENDIX L, and completed reports should be kept in APPENDIX M. A blank copy of form CE 2053 Storm Event & Non-Stormwater Sampling Report, and form CE2060 Notice of Discharge Report (High Level Non-Compliance) is kept in APPENDIX L, completed copies should be kept in APPENDIX N.

## Inspection Schedule for Stored or Contained Stormwater

The QSP/WPCM shall visually inspect the discharge of stored or contained stormwater that is derived from a Qualifying Precipitation Event. Stored or contained stormwater that will likely be discharged after operating hours due to anticipated precipitation shall be observed during normal operating hours, prior to the anticipated discharge.  The QSP/WPCM shall conduct visual observations during business hours only, and shall record the time, date and rain gauge reading during all inspections. A blank copy of form CE 2027 Rain Gauge Monitoring Log can be found in APPENDIX L. Completed copies of form CE 2027 Rain Gauge Monitoring Log will be kept in APPENDIX M.

## Discharge Visual Observation Inspections

### Non-visible Pollutant Source Observations

Contaminated soil conditions may be present which could trigger non-visible pollutant sampling/analysis. Known contaminants in soil should be assessed for sampling in relevant inspections. The adequacy of BMPs to prevent contaminants in runoff must be assessed by the QSD, QSP/WPCM and in coordination with any other consultant that may be assigned to address the contaminated soil.

Examples of common construction non-visible pollutants include, but are not limited to, bacteria and viruses, fertilizers or nutrients, herbicides, greases; lubricants; oils, metals, synthetic chemicals, and pesticides.

### Authorized Non-stormwater Discharge

The CGP describes the requirements for authorized non-stormwater discharges in Section IV.A, subsections IV.A.1 and IV.A.2. The following non-stormwater discharges are authorized under the CGP only if they come from de-chlorinated potable and non-potable water sources and meet the requirements set forth in section IV.A.2 of the CGP as noted below.

- Fire-fighting activity;

- Fire hydrant system flushing;

- Irrigation of vegetative erosion control measures;

- De-chlorinated potable water, including uncontaminated water line flushing;

- Hydrostatic pipe flushing and testing water;

- Air conditioning or compressor condensate;

- Uncontaminated groundwater or spring water from construction dewatering activities in compliance with Attachment J; and

- Water to control dust.

Those non-stormwater sources listed above are only authorized under the following conditions as described in Section IV.A.2. of the CGP:

- The discharge is not routed through site areas with exposed soil, except for water used for dust control or for vegetation irrigation to stabilize areas;

- The discharge does not cause or contribute to an exceedance of water quality standards in the receiving water;

- The discharge complies with other applicable requirements of this General Permit including applicable action levels, effluent limitations, and monitoring and reporting requirements;

- The discharge is not prohibited by an applicable regional or statewide water quality control plan;

- The discharge is in accordance with other applicable State and RWQCB permits; and

- The discharge does not contain toxic constituents in toxic amounts and does not cause toxicity in the receiving water body.

Furthermore, the authorized non-stormwater discharges must also:

- Comply with BMPs as described in the SWPPP;

- Filter or treat, using appropriate technology, all dewatering discharges from sedimentation basins; in compliance with Attachment J of the CGP;

- Evidence of non-stormwater discharges will be documented on form CE 2060 Notice of Discharge Report (High Level Non-Compliance). A blank copy of form CE 2060 Notice of Discharge Report (High Level Non-Compliance) is kept in APPENDIX L. Completed copies should be kept in APPENDIX N.

- If authorized non-stormwater discharges are sampled form CE 2053 Storm Event & Non-Stormwater Sampling Report must be completed. A blank copy of form CE 2053 Storm Event & Non-Stormwater Sampling Report is kept in APPENDIX L. Completed copies should be kept in APPENDIX N.

- Documentation of observed non-stormwater discharges will include presence or absence of floating and suspended materials, sheen on the surface, discolorations, turbidity, odors, and source(s) of any observed pollutants as indicated on form CE 2060 Notice of Discharge Report (High Level Non-Compliance). A blank copy of form CE 2060 Notice of Discharge Report (High Level Non-Compliance) is kept in APPENDIX L. Completed copies should be kept in APPENDIX N.

Weekly inspections shall include observations of, or evidence of, non-stormwater discharges in each drainage area of the project and document:

- The presence or evidence of any non-stormwater discharge (authorized or unauthorized) and their sources;

- Pollutant characteristics of the non-stormwater discharge (floating and suspended material, sheen, discoloration, turbidity, odor, etc.);

- The person performing the visual observations;

- The dates and approximate times each drainage area and non-stormwater discharge was observed; and

- The response taken to eliminate unauthorized non-stormwater discharges and to reduce or prevent pollutants from contacting authorized non-stormwater discharges.

### Discharge Observations

If unauthorized stormwater or non-stormwater discharges occur it should be 1) stopped immediately and any potential pollutants properly cleaned and disposed of, 2) The QSP/WPCM must immediately notify the County of San Diego Resident Engineer (RE), the QSD, and the contractor, 3) If the contractor observes the unauthorized non-stormwater discharge they must immediately notify the QSP/WPCM after they complete step 1 above.

Form CE 2060 Notice of Discharge Report (High Level Non-Compliance) must be completed for every offsite discharge that occurs including:

- Stormwater that bypassed all BMPs; and

- Unauthorized non-stormwater discharges

A blank copy of form CE 2060 Notice of Discharge Report (High Level Non-Compliance) is kept in APPENDIX L. Completed copies should be kept in APPENDIX N.

### Inspection Records

All visual inspections must be documented. Use form CE 2020 Stormwater Site Inspection Report for inspection reporting and documentation. A blank copy of form CE 2020 Stormwater Site Inspection Report is kept in APPENDIX L. Completed copies of form CE 2020 Stormwater Site Inspection Report will be kept in APPENDIX M.

If completed forms are stored in a separate designated binder, or electronically, the SWPPP must clearly identify the location of where the forms are kept. If completed forms are kept electronically, they must be able to be produced when requested by a federal, State, RWQCB, or County inspector. Records of all stormwater monitoring information and copies of all reports shall be maintained for a period of at least three years following the approval of the NOT.

## Site Sampling and Analysis

All projects under the CGP are required to conduct non-visible pollutant monitoring, sampling, and analysis. Sampling of non-visible pollutants identified in the pollutant source assessment is required when the materials or chemicals have the potential to cause or contribute to an exceedance of a water quality standard. A BMP breach, failure, malfunction, as well as a leak or spill of a pollutant of concern, observed during a visual inspection would require non-visible sampling/analysis.

Risk Level 1 projects are required to sample non-stormwater discharges for potential non-visible pollutants.

Risk Level 2 and 3 projects are required to sample all stormwater discharges from a QPE for pH and turbidity to ensure compliance with the NALs.

Risk Level 2 and 3 projects are required to sample non-stormwater discharges for pH and turbidity to ensure compliance with the NALs, as well as potential non-visible pollutants.

The following describes water quality limitations to assess analytical results and a detailed description of 1) non-visible pollutant Sampling and Analysis; and 2) pH and turbidity effluent sampling for assessment with the NAL.

All projects are required to meet the sampling requirements described in Attachment D of the CGP.

### Scope of Monitoring Activities

The following constitutes the scope of monitoring activities.

- Non-Stormwater Sampling and Analysis (Section 6.8)

- Non-Visible Pollutant Sampling and Analysis (Section 6.9)

- Stormwater pH and Turbidity (Section 6.10)

- Receiving Water Monitoring (Section 6.11)

- Additional monitoring requirements required by the RWQCB (APPENDIX J)

- Dewatering Plan (APPENDIX U)

- Active Treatment Systems (ATS)/Passive Treatment System Plans (APPENDIX S)

### Narrative Effluent Limitations

At a minimum, the project is required to comply with the following narrative effluent standards.

- Stormwater discharges and authorized non-stormwater discharges regulated by this General Permit shall not contain a hazardous substance equal to or in excess of reportable quantities established in 40 Code of Federal Regulations §§ 117.3 and 302.4, unless a separate NPDES Permit has been issued to regulate those discharges.

- Dischargers shall minimize or prevent pollutants in stormwater discharges and authorized non-stormwater discharges through the use of controls, structures, and management practices set forth in the order and attachments of the General Permit that achieve best available technology (BAT) for toxic and non-conventional pollutants and best conventional technology (BCT) for conventional pollutants.

### Numeric Action Levels (NALs)

Risk Level 2 and 3 projects are required to meet the NALs for pH, which is a range between 6.5-8.5, and the turbidity NAL of 250 NTU or less.

Samples collected for the analysis of pH and turbidity samples must be collected and analyzed in the field to make real time decisions regarding the discharge quality and effectiveness of BMPs.

Within 14 days after an NAL exceedance the QSP/WPCM shall visually inspect the drainage area of exceedance and document any areas of concern

Samples must be taken from all discharge locations incorporating runoff from project construction sites.  One sample from each discharge location must be taken per 24-hour period of each Qualifying Precipitation Event. Qualifying Precipitation Events are based on forecasts from the National Weather Service. A Qualifying Precipitation Event is a weather pattern that is forecasted to have a 50 percent or greater chance of 0.5 inches or more in a 24-hour period. Precipitation forecast information shall be obtained from the National Weather Service Forecast Office by entering the zip code of the project’s location at https://www.weather.gov/ and shall be included as part of form CE 2020 Stormwater Site Inspection Report weather condition section.

All sampling results must be documented on form CE 2053 Storm Event & Non-Stormwater Sampling Report and kept in the SWPPP. A blank copy of form CE 2053 Storm Event & Non-Stormwater Sampling Report is kept in APPENDIX L. Completed copies should be kept in APPENDIX N.

A blank copy of form CE 2060 Notice of Discharge Report (High Level Non-Compliance) is kept in APPENDIX L. Completed copies should be kept in APPENDIX N.

## Non-Visible Pollutant Sampling and Analysis

Non-visible pollutant sampling/analysis is required for all projects under the CGP.

Sampling and analysis of stormwater and non-stormwater samples for non-visible pollutants is described in Section 3.3. The pollutant source assessment found in Table 3-1 in Section 3.3 identifies potential pollutant sources that are found on-site.

Dischargers shall implement sampling and analysis requirements to monitor non-visible pollutants when there is:

- Evidence of pollutant releases that are not visually detectable in stormwater discharges; and

- Releases of substances which could cause or contribute to an exceedance of water quality objectives in the receiving waters.

Dischargers are required to conduct sampling and analysis for non-visible pollutants identified in the SWPPP or otherwise known to be on site, only when the pollutants may be discharged due to failure to implement BMPs, a container spill or leak, or a BMP breach, failure, or malfunction.

Dischargers are not required to sample if one of the conditions listed above and described in Section III.D.3.b of the CGP (e.g., breach or spill), occurs and, prior to discharge, the material containing the pollutant is fully remediated or removed; and BMPs to control the pollutant are implemented, maintained, or replaced as necessary.

Samples requiring laboratory analysis must be analyzed by an Environmental Laboratory Accreditation Program (ELAP) - accredited laboratory.

Samples must be analyzed according Table 4 – Test Methods, Detection Limits and Reporting Units of Section D.III.F. of the CGP.

Table 6-8 lists the ELAP – accredited testing laboratory information.

| Table 6-8: ELAP – Accredited Laboratory Information |  |
| --- | --- |
| Laboratory Name: |  |
| Street Address: |  |
| City, State, Zip: |  |
| Telephone Number: |  |
| Point of Contact: |  |
| ELAP Certification Number: |  |

Table 6-9 summarizes the sampling strategy for non-visible pollutants based on anticipated pollutants listed in Table 3-1, historical contaminants listed in Section 3.3 and any soil amendments applied to the site. Table 6-9 should be completed by the QSP/WPCM/QSP delegate using the following methods:

    - Identify the potential analytical parameters: The sample should be analyzed for the indicator parameter(s) relevant to the anticipated pollutant for which the non-visible pollutant monitoring is being conducted.

    - Identify if the analysis will be performed in the field and/or in the laboratory. Laboratory samples will be analyzed by the laboratory in accordance with established EPA Test Methods.

    - At least one sample must be collected within eight hours of the start of discharge, from each discharge location hydraulically down-gradient from the observed triggering condition.

    - Samples must be collected, at least once per applicable discharge location, per 24-hour period that there is discharge, until the necessary corrective actions are completed to control further discharge of the pollutant.

| Table 6-9: Non-Visible Pollutant Sampling Strategy |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Sampling Category | Anticipated Pollutant(s)1 | Collection Strategy | Sampling Test Method | Method Detection Limit | Benchmark |
| Historical Contamination |  |  |  |  |  |
| Soil Amendments |  |  |  |  |  |
| Breached/ Failed/ Malfunctioned BMP | pH |  |  | 0.1 pH | lower NAL=6.5 Upper NAL=8.5 |
| Breached/ Failed/ Malfunctioned BMP |  |  |  |  |  |
| Breached/ Failed/ Malfunctioned BMP |  |  |  |  |  |
| Breached/ Failed/ Malfunctioned BMP |  |  |  |  |  |
| 1- The QSD has provided anticipated pollutants in Table 3-1, the QSP/WPCM/QSP Delegate must update the actual pollutants on-site and add them to Table 3-1 Pollutant Source Assessment Form in Section 3.3. |  |  |  |  |  |

### Required Sampling of Non-Visible Pollutants

The QSP/WPCM/QSP Delegate shall collect one or more samples during any breach, malfunction, leakage, or spill observed during a visual inspection which could result in the discharge of pollutants to surface waters that would not be visually detectable in stormwater.  The samples must be large enough to characterize the site conditions.  Samples must be collected at all active discharge locations.  These samples must be taken during the first eight hours of discharge from rain events that occur during business hours and which generate runoff.

The Contractor’s QSD shall modify the CSMP to address any additional parameters in accordance with any updated pollutant source assessments. The QSP/WPCM/QSP Delegate is required to collect a sample of stormwater that has not come in contact with the disturbed soil, or the materials stored or used on-site (uncontaminated sample) for comparison with the discharge sample.  A comparison is required between the uncontaminated sample and the samples of discharge using field analysis or through laboratory analysis.

All sampling results must be documented on form CE 2053 Storm Event & Non-Stormwater Sampling Report and kept in the SWPPP. A blank copy of form CE 2053 Storm Event & Non-Stormwater Sampling Report is kept in APPENDIX L. Completed copies should be kept in APPENDIX N.

| Table 6-10: Potential Non-Visible Pollutants And Water Quality Indicator Constituents Based On The Pollutant Source Assessment |  |  |  |  |
| --- | --- | --- | --- | --- |
| Pollutant | Water Quality Indicator or Constituent | Source/Reason from Pollutant Source Assessment | TMDL Pollutant | Site Drainage Area |
|  |  | [Construction Material or Waste] | [Yes] [No] |  |
|  |  | [Construction/Contractor Activity] | [Yes] [No] |  |
|  |  | [Existing Site Feature] | [Yes] [No] |  |
|  |  | [Soil Amendment] | [Yes] [No] |  |

### Inventory

A table to inventory potential pollutants that will be kept on-site during construction has been included in Section 3.3 in Table 3-1 of this SWPPP.  The table describes the potential sources of pollution, and their location on the construction site.

### Housekeeping of Potential Pollutants

This SWPPP emphasizes good housekeeping as the best method to prevent stormwater pollution.  Good housekeeping in this context includes the following elements:

- Designate storage areas away from stormwater inlets, conveyances, and receiving waters;

- Store potential pollutants either inside a building or under a water-tight roof; and

- Keep all potential pollutants in watertight containers.

## Stormwater Discharge Sampling and Analysis for pH and Turbidity for Risk Level 2 and 3 Projects

THIS SECTION IS NOT APPLICABLE TO RISK LEVEL 1 PROJECTS. RISK LEVEL 1 PROJECTS CAN STATE “NOT APPPICABLE”.

Not applicable to Risk Level 1 projects.

Risk Level 2 and 3 dischargers shall collect stormwater grab samples during a Qualifying Precipitation Event, from all discharge locations incorporating runoff from the project construction sites, during discharge and within site operating hours. The grab samples shall be representative of the discharge flow and characteristics. The sampling locations are identified on the WPCDs in APPENDIX D in the SWPPP. Any locations where discharge occurs, but that are not identified as sampling locations on the WPCDs in APPENDIX D, will also require grab samples to be collected. These locations must be added to the WPCDs in APPENDIX D and CSMP, by the QSD.

Risk Level 2 and 3 dischargers shall obtain one sample from each discharge location per 24-hour period of each Qualifying Precipitation Event, during active discharge.

Risk Level 2 and 3 dischargers shall collect samples of stored or contained stormwater during discharge from the impoundment, in accordance with Attachment J of the CGP.

Table 6-11 summarizes the sampling strategy for the collection, evaluation and sampling of stormwater effluent discharges to meet the CGP requirements.  Field instruments must be calibrated per the manufacturer’s recommendations.

| Table 6-11: pH/Turbidity Stormwater Sampling Strategy |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Parameter | Collection Strategy | Sampling Test Method | Method Detection Limit | Reporting Units | Numeric Action Level |
| Turbidity | Field Crew | Field Turbidity Meter | 1 | NTU | 250 NTU |
| pH | Field Crew | Field pH Meter | 0.2 | pH Units | Lower NAL=6.5 Upper NAL=8.5 |

## Receiving Waterbody Water Quality Standards/Objectives

THIS SECTION IS ONLY  APPLICABLE TO RISK LEVEL 3 PROJECTS. RISK LEVEL 1 AND 2 PROJECTS CAN STATE “NOT APPPICABLE”.

Not applicable to Risk Level 1 and 2 projects.

Risk Level 3 dischargers who discharge directly into receiving waters are also required to monitor the receiving water if sampling results from the discharge monitoring location meets either of the following conditions:

- pH value falls outside of the range of 6.0 and 9.0 pH units; or

- Turbidity exceeds 500 NTU

Risk Level 3 dischargers required to conduct receiving water monitoring shall collect samples as follows:

- Collect, at minimum, one upstream receiving water sample from an accessible and safe location that is:

- Representative of the receiving water;

- As close as possible to the discharge location; and

- Upstream from the discharge location.

- Collect, at minimum, one downstream receiving water sample from an accessible and safe location that is:

- Representative of the receiving water;

- As close as possible to the discharge location; and

- Downstream from the discharge location.

Risk Level 3 dischargers shall analyze the sample for the parameter that triggered this monitoring (either pH or turbidity, or both). Samples shall be collected once every 24-hour period of a Qualifying Precipitation Event. The specific sampling locations must be listed in Table 6-12.

All sampling results must be documented on form CE 2053 Storm Event & Non-Stormwater Sampling Report and kept in the SWPPP. A blank copy of form CE 2053 Storm Event & Non-Stormwater Sampling Report is kept in APPENDIX L. Completed copies should be kept in APPENDIX N.

The RWQCB may require that a Risk Level 3 discharger continue to sample the receiving water for the parameter that triggered this monitoring (pH and/or turbidity) after the Qualifying Precipitation Event ends.

### Receiving Water Monitoring Exceptions

Receiving water monitoring does not apply if run-on from a forest fire or any other natural disaster caused the stormwater results to fall outside the pH range or exceed the turbidity NAL.

## Sampling Locations

Non-visible pollutant sampling/analysis is required for all projects under the CGP provided the conditions listed in Section 6.9 are present.

Risk Level 2 and 3 project QSP/WPCMs/QSP delegates, shall conduct sampling and analysis of pH and turbidity in stormwater discharges during a Qualifying Precipitation Event.

Table 6-12 lists the potential sampling locations for pH and turbidity sampling as well as non-visible pollutant sampling. As work progresses additional locations that were not originally anticipated by the QSD may need to be added to this table. The sampling locations listed in Table 6-12 are also illustrated on the WPCDs in APPENDIX D. However, the QSP/WPCM must identify and update sampling locations in Table 6-12, on the WPCDs in APPENDIX D, and on the site wall maps.

| Table 6-12: Potential Sampling Locations |  |  |  |  |
| --- | --- | --- | --- | --- |
| Name / ID | Description | Drainage Area1 (acres) | Latitude / Longitude | Type2 |
| 1Drainage areas should be illustrated on the WPCDs in APPENDIX D 2Types of monitoring locations are Effluent, Influent, Internal, and Receiving Water |  |  |  |  |

# Reporting

## Reporting

Records of all inspections, such as inspection reports, compliance certification, and non-compliance reporting must be retained for a period of at least three years after the approval of the project NOT.  A copy of the fully implemented site SWPPP shall be kept in the construction trailer and available for review at all times during the construction project.

## Site Inspection Report

A site inspection report must be prepared in conjunction with each routine weekly inspection, pre-qualifying precipitation event, post-qualifying precipitation event, and at 24-hour intervals during a qualifying precipitation event. Site inspection reports will also be prepared to verify BMP application and effectiveness during discharges of non-stormwater when such discharges occur.

The project records for monitoring in accordance with the SWPPP will be maintained at the construction trailer. Once the project is complete, project records will be retained by the Department of Public Works (DPW).

Form CE 2020 Stormwater Site Inspection Report must be completed for every site inspection. A blank copy of form CE 2020 Stormwater Site Inspection Report is kept in APPENDIX L. Completed copies of form CE 2020 Stormwater Site Inspection Report will be kept in APPENDIX M.

All reports shall be retained for a period of at least three years after the approval of the project NOT.

## Numeric Action Level Exceedance Report

Risk Level 2 and 3 projects are required to meet the NALs for pH and turbidity in stormwater runoff. When NALs are exceeded for a project site form CE 2062 Numeric Action Level (NAL) Exceedance Report must be completed within 48 hours after the conclusion of a QPE. A blank copy of form CE 2062 Numeric Action Level (NAL) Exceedance Report is kept in APPENDIX L. Completed copies of should be kept in APPENDIX N.

## Numeric Effluent Limit Exceedance Report

In the event of a Numeric Effluent Limit (NEL) exceedance for a project site form CE 2061 Numeric Effluent Limit Exceedance Report must be completed within 48 hours after the exceedance. A blank copy of form CE 2061 Numeric Effluent Limit (NEL) Exceedance Report is kept in APPENDIX L. Completed copies should be kept in APPENDIX N.

## Annual Report

The QSP/WPCM shall prepare the Annual Report, which will be certified, and electronically submitted by the LRP/DAR no later than September 1 of each year. The County requires that all Annual Reports are prepared on SMARTS by July 15th of each year.  A blank copy of form CE 2063 Annual Report Checklist can be found in APPENDIX L. Completed copies form CE 2063 Annual Report Checklist will be kept in APPENDIX P and must be retained for a minimum of three years after the date the annual report was certified.

The annual report shall include stormwater monitoring information consisting of:

- The summary of all stormwater sampling and monitoring reports and supporting documents (e.g., forms CE 2053, CE 2060, laboratory reports, etc.);

- The summary of all corrective actions taken during the compliance year;

- The identification and explanation of any compliance activities (e.g., missed sampling or visual inspection) or corrective actions that were not implemented;

- The summary of all the General Permit violations;

- The names of individual(s) who performed the site inspections, sampling, visual inspections, and/or measurements;

- The date, place, time of site inspections, sampling, visual inspections, and/or measurements, including the amount of precipitation (rain gauge) measured in inches; and

- All visual inspection and sample collection exception records and reports.

## Reporting of Non-Compliance with the CGP or SWPPP

The County LRP/DAR will notify the RWQCB of any instance in which the construction site is not in compliance with the CGP and the SWPPP. Non-compliance reporting shall be made either when the County and/or contractor cannot certify compliance with any portion of the CGP.

Digitally filed non-compliance notification must be submitted within 5 business days of identification of non-compliance to the RWQCB. The County requires immediate verbal communication of any instance of non-compliance and a formal report submitted (CE 2060) within 24 hours.

## Reporting of Exceedance of Water Quality Benchmarks, NALs, and NELs

The County LRP/DAR will notify the RWQCB of any instance in which stated NALs, NELs, or  water quality benchmarks described within the SWPPPP have been exceeded. The County requires immediate verbal notification of any potential exceedances. A blank copy of forms CE 2061 Numeric Effluent Limitations (NEL) Exceedance Report and CE 2062 Numeric Action Level (NAL) Exceedance Report is kept in APPENDIX L. Completed copies should be kept in APPENDIX N.

For NALs, digitally filed exceedance notification and all precipitation event sampling results must be submitted no later than 10 days after the conclusion of the precipitation event event to the RWQCB. The County requires submittal of NAL exceedance documentation within 24 hours after the conclusion of the precipitation event. For TMDL-related NALs, the County requires submittal of NAL exceedance documentation within 24 hours after receiving the field analysis results or analytical laboratory results

For NELs, digitally filed exceedance notification and all precipitation event sampling results must be submitted no later than 10 days after receiving the field analysis results or analytical laboratory results to the RWQCB. The County requires submittal of NEL exceedance documentation within 24 hours after receiving the field analysis results or analytical laboratory results.

## SWPPP Amendments

The SWPPP will be amended and revised by the Contractor’s QSD to reflect any additional BMPs that have been or will be implemented, the implementation schedule for added BMPs, and any additional monitoring required.

The SWPPP shall be amended whenever there is a change in construction or operations which will affect the discharge of pollutants to surface waters or the municipal storm sewer system. The SWPPP shall also be amended if the contractor violates a condition of the CGP or has not achieved the general objective of reducing or eliminating pollutants in stormwater discharges. If the RWQCB determines that the County and/or contractor is in violation of the CGP, the SWPPP shall be amended by the Contractor’s QSD.

All amendments will be signed by the Contractor’s QSD, dated, and directly attached to this SWPPP. A blank copy of form CE 2043 SWPPP/WPCP Amendments Log and Certification is kept in APPENDIX L. Completed copies of form CE 2043 SWPPP/WPCP Amendments Log and Certification will be kept in APPENDIX A.

# Responsible Parties

## List of Contractors and Subcontractors

The list of the contractors or subcontractors that will be responsible, under the direction of the QSP/WPCM, for the implementation of the SWPPP through the nature of the construction activity they are involved in, is shown below in Table 8-1. This list should be as complete as possible at the initial SWPPP preparation date and then amended periodically as the contractors or subcontractors change.  All contractors and subcontractors should be provided with a copy of the relevant SWPPP sections that summarize the recommended good housekeeping practices and control measures. This list shall be revised as necessary to reflect the addition of contractors working on the project. If needed, a blank copy of Table 8-1 Contractors and Subcontractors list is available in APPENDIX Q.

| Table 8-1: Contractors And Subcontractors |  |  |  |  |
| --- | --- | --- | --- | --- |
| Contractor/ Subcontractor Company Name and Address | Contact Person/ Phone Number | Activity | Start Date | End Date |

## Incorporation of County Special Provisions

The Special Provision Construction Specifications for Water Pollution Control constitute contract documents with the County of San Diego. If problems related to the stormwater quality develop, then the contractor shall comply with all the conditions contained with the CGP and Special Provisions. A copy of the County Of San Diego Special Provision Construction Specifications For Water Pollution Control is kept in APPENDIX T. A copy of the CGP is kept in APPENDIX X.

## Training Program for Personnel Under Direction of QSP/WPCM

Trained personnel who are familiar with the requirements of the CGP and the monitoring and reporting requirements shall conduct site inspections, repairs, and record keeping. These individuals shall be trained prior to initiation of the construction project. These individuals should be identified on the training forms kept in APPENDIX K.

Any training program updates should be amended to this SWPPP by the Contractor’s QSD and the list of trainees should be placed in APPENDIX K along with the completed training forms.

## Education Program

The main objective of the education program is to ensure that competent personnel execute all inspections, maintenance, and repairs.  In addition, it is imperative that all site personnel are familiar with the purpose and requirements of the CGP and the SWPPP to ensure all operations are appropriately conducted.

The core of the Education and Training Program shall be presented to all personnel prior to commencement of construction activities. The QSP/WPCM of the SWPPP shall conduct training sessions. Training sessions shall be held thereafter on an as-needed basis to ensure all personnel remain aware of changes in construction procedures, methods or SWPPPP requirements or amendments. It is the responsibility of those conducting the Education and Training Program to ensure personnel are familiar with the following:

- All requirements of the CGP and the SWPPP;

- What is considered a stormwater pollutant (i.e., sediment, chemicals, etc.);

- Understand the purpose, implementation and operation of each measure required by the SWPPP.  This includes the inspection, maintenance and repair of BMPs.  This is important so that any member of the construction staff can recognize potential problems and take appropriate corrective actions;

- Procedures and control measures for use of pollutants and/or hazardous substances and proper responses for spills; and

- Remain updated, through ongoing training, of changes or modifications in the control measures of the SWPPP and the CGP.  It is recommended that erosion control be a topic at weekly or monthly site construction meetings with staff to review procedures and implementation of the SWPPP.

It is critical that site personnel are familiar with the requirements, implementation, and function of the control measures designed to minimize stormwater pollution. A comprehensive knowledge of the CGP and the SWPPP will ensure that all members of the construction team are participating in implementing and maintaining the effectiveness of the program.

Additional training requirements are specified in the County Of San Diego Special Provision Construction Specifications For Water Pollution Control found in APPENDIX T.

# References

In addition to the CGP this SWPPP incorporates, by reference, the appropriate elements of the following documents and plans required by local, State, or Federal agencies. In addition, this document incorporates other environmental reports, permits, and construction permits that were specifically prepared for this project or reference project.

SELECT THE APPROPRIATE DOCUMENTS AND DELETE ANY OTHER DOCUMENTS THAT ARE NOT APPROPRIATE.

American Public Health Association.  Standard Methods for the Examination of Water and Wastewater.

American Society for Testing and Materials.  ASTM Method D3977-97.

California Regional Water Quality Control Board.  “Water Quality Control Plan for the San Diego Basin,” September 1994 (or latest revision thereof)

Caltrans. “Construction Site Bent Management Practices (BMP) Manual”, CTSW-RT-24-425.11.1, March 2024.

California Stormwater Quality Association.  “California Stormwater Best Management Practice Handbooks,” October 2024.

State Water Resources Control Board Resolution No. 2019-0066.  Water Quality Control Plan – Ocean Waters of California (California Ocean Plan)

United States Environmental Protection Agency.  40 CFR §§ 117.3 and 302.4.

United States Environmental Protection Agency.  40 CFR §§ 131.36-38, July 1999 (California Toxics Rule and National Toxics Rule).

Regional Water Board requirements

Basin Plan requirements

Contract Documents

Air Quality regulations and permits

Federal Endangered Species Act

National Historic Preservation Act/Requirements of the State Historic Preservation Office

State of California Endangered Species Act

Clean Water Act Section 401 Water Quality Certifications and 404 Permits

CA Department of Fish and Game 1600 Streambed Alteration Agreement

California Ocean Plan

State Water Board GeoTracker database (GeoTracker)

Grading Plans

Conceptual Water Pollution Control Drawings

Street Improvement Plans

Drainage Study

Hydrology Map

Landscape Plan

# APPENDIX A – Completed Form CE 2043 SWPPP/WPCP Amendment Log And Certification

# APPENDIX B – Project Risk Determination

# APPENDIX C – Construction Schedule and BMP Implementation Schedules

This Appendix Contains:

Construction Schedule

Blank copies of the BMP Implementation Schedules

Completed copies of the BMP Implementation Schedules

| APPENDIX C – BMP Implementation Schedule |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | BMP | Location | Implementation | Duration | Construction Phase |
| Erosion Control BMPs | SS-1, Scheduling |  | Prior to construction | Throughout project | All phases |
|  | SS-2, Preservation of existing vegetation |  |  |  |  |
| Sediment Control BMPs |  |  |  |  |  |
| Wind Erosion Control BMPs |  |  |  |  |  |
| Tracking Control BMPs |  |  |  |  |  |
| Non-Stormwater Control BMPs |  |  |  |  |  |
| Construction Material Control BMPs |  |  |  |  |  |
| Waste Management Control BMPs |  |  |  |  |  |
| Print Name: |  |  |  |  |  |
| Signature: |  |  |  |  |  |
| Date: |  |  |  |  |  |

# APPENDIX D– Water Pollution Control Drawings (WPCDs)

# APPENDIX E – Notice Of Intent (NOI), Copy Of Annual Fee, and LRP Assignment

# APPENDIX F – Completed Change Of Information (COI) Form CE 2044

# APPENDIX G – Notice Of Termination (NOT) Final Inspection Form CE 2065

# APPENDIX H– Hydrology Maps And Calculations For The Collection And Conveyance Of Run On And Run Off

# APPENDIX I – Best Management Practices (BMP) Fact Sheets

# APPENDIX J – Additional Monitoring Requirements Required By The Regional Water Quality Control Board

# APPENDIX K – QSD, QSP Certificates, Completed Stormwater Training Record CE 2030, Stormwater Training Log CE 2031, And QSP Delegate Training

# APPENDIX L – Blank Sample Reports

This APPENDIX Contains Blank Copies Of The Following Reports:

Stormwater Site Inspection Report General Permit Construction Activities (CE 2020)

Stormwater Site Inspection Report Corrective Actions Summary (CE 2022)

Rain Gauge Monitoring Log (CE 2027)

Stormwater Training Record (CE 2030)

Stormwater Training Log (CE 2031)

Rain Event Action Plan (CE 2040)

SWPPP/WPCP Amendments Log and Certification (CE 2043)

Change Of Information (COI) (CE 2044)

Storm Event & Non-Stormwater Sampling Report (CE 2053)

Notice Of Discharge Report (High Level Non-Compliance) (CE 2060)

Numeric Effluent Limitation (NEL) Exceedance Report (CE 2061)

Numeric Action Level (NAL) Exceedance Report (CE 2062)

Annual Report Checklist (CE 2063)

Dewatering Operations Sampling Report (CE 2064)

Notice Of Termination Final Stormwater Inspection Report (CE 2065)

# APPENDIX M – Completed Stormwater Site Inspection Report CE 2020, Stormwater Site Inspection Report Completed Corrective Actions Summary CE 2022, And Rain Gauge Monitoring Log CE 2027

# APPENDIX N – Completed Storm Event & Non-Stormwater Sampling Report CE 2053, Notice of Discharge Report (High Level Non-Compliance) CE 2060, Numeric Effluent Limit (NEL) Exceedance Report CE 2061, And Numeric Action Level (NAL) Exceedance Report CE 2062

# APPENDIX O – Rain Event Action Plan CE 2040

# APPENDIX P – Completed Annual Report Checklist CE 2063

# APPENDIX Q – List Of Contractors And Subcontractors

| Table 8-1: Contractors And Subcontractors |  |  |  |  |
| --- | --- | --- | --- | --- |
| Contractor/ Subcontractor Company Name and Address | Contact Person/ Phone Number | Activity | Start Date | End Date |

# APPENDIX R – Post Construction Runoff Calculations For Projects Outside MS4 Permit Coverage

This Appendix Contains:

Water Balance Calculations for Storms Up to 85th Percentile

Drainage Density Calculations (Applicable only for projects disturbing 2 acres or more)

Justification for Use of Structural Controls

# APPENDIX S – Active Treatment System (ATS) Plan And Requirements, Passive Treatment Plan

This Appendix Contains:

Site specific Active Treatment System (ATS) Plan (If applicable)

Site specific Passive Treatment Plan (if applicable)

# APPENDIX T – County Of San Diego Special Provisions For Water Pollution Control

# APPENDIX U – Dewatering Plan and Completed Dewatering Operations Sampling Report CE 2064

# APPENDIX V– Soil Contamination Information

# APPENDIX W– Glossary, Acronym List, And Board Contact Information

Glossary

For a full list of definitions see Attachment B of the CGP.

70 Percent Final Cover

For final construction site stabilization, 70 percent final cover is the permanent vegetative cover that is evenly established over 70 percent of all disturbed and exposed areas of soil (non-paved or non-built). In areas that naturally have low vegetative coverage (e.g., deserts), 70 percent of natural conditions is acceptable.

Active Treatment System

An active treatment system is a treatment technology that employs chemical coagulation, chemical flocculation, or electrocoagulation to reduce turbidity caused by fine suspended sediment, and/or to control pH levels. An active treatment system relies on enclosed computerized systems with pumps, filters, and real-time controls.

Best Management Practices (BMPs)

BMPs are management practices and structural controls used to prevent or reduce the discharge of pollutants from runoff, spillage or leaks, sludge or waste disposal, or drainage from raw material storage to waters of the United States. BMPs include scheduling of activities, prohibitions of practices, operation and maintenance procedures, treatment, and vegetated infiltration basins amongst other practices.

Demolition and Pre-Development Site Preparation

Demolition and pre-development site preparation is a construction stage including demolition of existing structures that expose soil, rough grading and/or disking, clearing and grubbing operations, or any soil disturbance prior to mass grading.

Discharge Location

Discharge location is a common outlet from a construction site drainage area where stormwater, authorized non-stormwater, or dewatering discharge leaves the site or project boundary, or enters any on-site waters of the United States (e.g., a creek running through a site).

Drainage Area

Drainage area is the area of land that drains water, sediment, pollutants, and dissolved materials to a common outlet or discharge location.

Final Stabilization

Final stabilization is established when all soil disturbing activities at each individual parcel within the construction site have been completed, and the establishment of a permanent vegetative cover, or equivalent permanent stabilization measures (such as riprap, gabions, or geotextiles) to prevent erosion in a manner consistent with the requirements in this General Permit.

Grading and Land Development Phase

Grading and land development phase includes reconfiguring the topography and slope, including: alluvium removals; canyon cleanouts; rock undercuts; keyway excavations; landform grading; and stockpiling of select material for capping operations.

Inactive Project

Inactive project is where all construction activities (including passive treatment technology, active treatment systems, and/or active equipment), are fully stabilized and will be suspended for 30 days or more.

Non-Stormwater Discharges

Non-stormwater discharges are discharges that do not originate from precipitation events. They can include, but are not limited to, discharges of process water, air conditioner condensate, non-contact cooling water, vehicle wash water, sanitary wastes, concrete washout water, paint wash water, irrigation water, dust control over-wetting, or pipe testing water.

Non-Visible Pollutants

Non-visible pollutants associated with a specific site or activity that can have a negative impact on water quality but cannot be seen though observation (e.g., chlorine).

Numeric Action Level

A numeric action level (e.g., a pH range, turbidity value, or concentration) is a level that triggers a required evaluation of the effectiveness of best management practices implemented on the subject construction site, and the required implementation of additional corrective actions necessary to reduce the subject pollutant below the numeric action level. The numeric action level compliance location applies to each sample location and/or corresponding discharge location.

Numeric Action Level Exceedance

Non-TMDL numeric action level exceedance: A numeric action level exceedance occurs when the field reading for the one sample taken during each day of a qualifying precipitation event at each sample and/or discharge location, exceeds an applicable numeric action level. A numeric action level exceedance is not a violation of this General Permit. A discharger failing to report and failing to modify implementation of its best management practices to prevent further numeric action level exceedance(s), is a violation of this General Permit.

TMDL-related numeric action level exceedance: A TMDL-related numeric action level exceedance occurs on the second, and each subsequent, analytical result for samples taken from any and all discharge location(s) within the same drainage area, during the same reporting year and taken in accordance with Attachment D or E Section III.D.3, that is above the concentration set forth in an applicable numeric action level. A numeric action level exceedance is not a violation of this General Permit; however, it is a violation when the discharger fails to report and respond to the numeric action level exceedance(s).

Numeric Effluent Limitation

Numeric effluent limitation is a technology-based or water quality-based limit (e.g., pH range, turbidity value, or concentration) established for discharges covered under this General Permit. The numeric effluent limitation compliance location(s) applies to each sample and/or discharge location at the point of discharge from an active treatment system if applicable.

Numeric Effluent Limitation Exceedance

Active treatment system numeric effluent limitation exceedance: An active treatment system numeric effluent limitation exceedance occurs when the analytical result for the samples taken during operation of an active treatment system exceeds an applicable numeric effluent limitation. A numeric effluent limitation exceedance is a violation of this General Permit and subject to mandatory minimum penalties.

TMDL-related numeric effluent limitation exceedance: A TMDL-related numeric effluent limitation exceedance occurs on the second, and each subsequent, analytical result for samples taken from any and all discharge location(s) within the same drainage area, during the same reporting year and taken in accordance with Attachment D or E Section III.D.3, that is above the concentration set forth in an applicable numeric effluent limitation. Each numeric effluent limitation exceedance after the first instance is a violation of this General Permit and subject to mandatory minimum penalties.

Passive Treatment

Passive treatment is the application of natural or synthetic chemicals and products to reduce turbidity in discharges through coagulation and flocculation. Passive treatment does not rely on computerized, enclosed systems with pumps, filters, and real-time controls. Passive treatment may include pumps where they are necessary to move water around the construction site.2 Passive treatment products are available in a variety of forms and may be land-applied for soil stabilization (e.g., bonded fiber matrixes, hydromulches) or water-applied for sediment removal (e.g., liquid treatment chemicals, powders, slow-releasing solid blocks/socks).

2U.S. EPA. 2017 Construction General Permit. Web. January 11, 2017. <https://www.epa.gov/npdes/epas-2017-construction-general-permit-cgp-and-related-documents>[as of October 19, 2020]

pH

pH is the unit universally used to express the intensity of the acid or alkaline condition of a water sample. The pH of natural waters tends to range between 6 and 9, with neutral being 7. Extremes of pH can have deleterious effects on aquatic systems.

Post-Construction BMPs

Post-construction BMPs are structural and non-structural controls which detain, retain, infiltrate, and/or filter out pollutants discharged to receiving waters after a construction project is completed. Low impact development features are considered a type of post-construction BMP.

Precipitation Event

Precipitation event is any weather pattern that results in precipitation (rain, snow, sleet, or hail).

Qualified SWPPP Developer (QSD)

Qualified SWPPP developer is a qualified stormwater professional authorized by the discharger to develop and revise SWPPPs.

Qualified SWPPP Practitioner (QSP)

Qualified SWPPP practitioner is a qualified stormwater professional authorized by the discharger to conduct non-stormwater and stormwater visual observations, sampling, and implementation of all elements of the SWPPP.

Qualifying Precipitation Event

Qualifying precipitation event is any weather pattern that is forecast to have a 50 percent or greater Probability of Precipitation (PoP) and a Quantitative Precipitation Forecast (QPF) of 0.5 inches or more within a 24-hour period. The event begins with the 24-hour period when 0.5 inches has been forecast and continues on subsequent 24-hour periods when 0.25 inches of precipitation or more is forecast.

Run-on

Run-on are discharges that originate offsite and flow onto the property of a separate project site.

Sampling Location

Sampling location for traditional construction projects: An identified discharge location where samples of stormwater, non-stormwater, or dewatering discharges are obtained to determine compliance with requirements in this General Permit.

Site

A site is the area disturbed where the construction activity is physically located or conducted, including staging, storage, and access areas.

Site Operating Hours

Site operating hours are the time periods when the site is staffed to conduct any function related to the construction activity.

Source

Source is any construction activity, material, or area that causes or contributes to pollutants in stormwater.

Stormwater

Stormwater is rain, snowmelt, or any other liquid or solid precipitation that may result in runoff, and drainage from a site.

Streets and Utilities Phase

Streets and utilities phase is the construction stage including excavation and street paving, lot grading, curbs, gutters and sidewalks, public utilities, public water facilities including fire hydrants, public sanitary sewer systems, storm sewer system, and/or other drainage improvements.

Total Maximum Daily Load (TMDL)

A TMDL is the sum of the maximum amount of a pollutant that a waterbody can receive per day and still meet state water quality standards. It is the sum of the individual Waste Load Allocations (WLAs) for point sources, the load allocations for nonpoint and natural background sources, and the margin of safety.

Turbidity

Turbidity is the optical condition and cloudiness of water caused by suspended or dissolved particles or colloids. Turbidity is quantified by the degree to which light traveling through a water column is scattered by the suspended organic and inorganic particles it contains. The turbidity test is reported in Nephelometric Turbidity Units (NTU) or Jackson Turbidity Units (JTU) with a calibrated turbidity meter.

Vertical Construction Phase

Vertical construction phase is the build out of structures from foundations to roofing, including rough landscaping.

Acronym List

ATS: Active Treatment System

BMP: Best Management Practices

CGP: Construction General Permit

MS4: Municipal Separate Storm Sewer System

NAL: Numeric Action Level

NEL: Numeric Effluent Limitation

NOI: Notice of Intent

NOT: Notice of Termination

PDP: Priority Development Project

PER: Preliminary Engineering Report

PRD: Permit Registration Documents

PS&E: Plan, Specifications and Estimate

QPE: Qualifying Precipitation Event

RE: Resident Engineer

REAP: Rain Event Action Plan

SBMP: Structural BMP

SMARTS: Storm Water Multi Application Reporting and Tracking System

SOS: Scope of Services

SUSMP: Standard Urban Stormwater Mitigation Plan

SWQMP: Storm Water Quality Management Program

SWPPP: Storm Water Pollution Prevention Plan

TMDL: Total Maximum Daily Load

WDID: Waste Discharge Identification Number

San Diego Region 9 Contacts

For general inquiries and complaints:
Email: r9_stormwater@waterboards.ca.gov

Ben Neill, Senior WRC Engineer
 Ben.Neill@waterboards.ca.gov
 (619) 521-3376

Erica Ryan, WRC Engineer
 Erica.Ryan@waterboards.ca.gov
 (619) 521-8051

Tony Felix, WRC Engineer
 Tony.Felix@waterboards.ca.gov
 (619) 521-5921

Regan Morey, WRC Engineer
 Regan.Morey@waterboards.ca.gov
 (619) 521-3381

Mireille Garcia, WRC Engineer
 Mireille.Garcia@waterboards.ca.gov
 (619) 521-8041

Jessica Taylor, WRC Engineer
 Jessica.Taylor@waterboards.ca.gov
 (619) 521-5893

Nicholas White P.E., WRC Engineer
 Nicholas.White@waterboards.ca.gov
 (619) 521-8040

# APPENDIX X – Record Of Spills

# APPENDIX Y –CGP

# APPENDIX Z –All Other Permits and Regulatory Documents