11.0 Cover Sheet and General Requirements

- All Structural BMPs must have a plan and mechanism to ensure on-going maintenance.  Use the table below to document the types of agreements to be submitted for the PDP and submit them under cover of this sheet.

- See BMPDM Section 7.3 for a description of maintenance categories and responsibilities.  Note that since Category 3 and 4 BMPs are County-maintained, they do not require maintenance agreements.

a. Applicability of Maintenance Agreements

Check the boxes below to indicate which types of agreements are included with this attachment. ☐ Maintenance Notification Agreement for Category 1 Stormwater Structural BMPs - Exhibit A: Project Site Map; and a Map for each BMP and its Drainage Management Area (DMA). - Exhibit B: BMP Maintenance Plan (see below) CATEGORY 1 MAINTENANCE AGREEMENTS ARE RECORDED PRIOR TO OCCUPANCY. ☐ Storm Water Facilities Maintenance Agreement (SWMA) (Category 2 BMPs) - Exhibit A: Legal Description of Property - Exhibit B: BMP Maintenance Program (see below) - Exhibit C: BMP Locations CATEGORY 2 MAINTENANCE AGREEMENTS ARE RECORDED PRIOR TO PERMIT ISSUANCE. Maintenance agreement templates and instructions are available on the County’s website: www.sandiegocounty.gov/stormwater under the Development Resources tab, Submittal Templates.

b. Maintenance Plan Requirements

Maintenance plans should include the following: ☒ Specific maintenance indicators and actions for proposed structural BMP(s). These must be based on maintenance indicators presented in BMP Design Manual Fact Sheets in Appendix E and enhanced to reflect actual proposed components of the structural BMP(s). ☒ Access to inspect and perform maintenance on the structural BMP(s). ☒ Features to facilitate inspection (e.g., observation ports, cleanouts, silt posts, or other features that allow the inspector to view necessary components of the structural BMP and compare to maintenance thresholds). ☒ Manufacturer and part number for proprietary parts of structural BMP(s) when applicable. ☒ Maintenance thresholds specific to the structural BMP(s), with a location-specific frame of reference (e.g., level of accumulated materials that triggers removal of the materials, to be identified based on viewing marks on silt posts or measured with a survey rod with respect to a fixed benchmark within the BMP). ☒ Recommended equipment to perform maintenance. ☒ When applicable, necessary special training or certification requirements for inspection and maintenance personnel such as confined space entry or hazardous waste management.