2.0 General Requirements

- Attachment 2 consolidates exhibits and plans required for the entire project.

- Complete the table below to indicate which sub-attachments are included with the submittal.  Sub-attachments that are not applicable can be excluded from the submittal.

- Unless otherwise stated, features and BMPs identified and described in each corresponding Attachment (6 through 9) must be shown on applicable DMA Exhibits and construction plans submitted for the project.

| Sub-attachments | Requirement |
| --- | --- |
| ☐ 2.1: DMA Exhibits | All PDPs |
| ☐ 2.2: Individual Structural BMP DMA Mapbook | PDPs with structural BMPs |
| ☐ 2.3: Construction Plan Sets | All projects |

2.1 DMA Exhibits

- DMA Exhibits must show all DMAs on the project site.  Exhibits must include all applicable features identified in applicable SWQMP attachments.

- Exhibits may be prepared individually for the BMPs associated with each applicable SWQMP Attachment (6, 7, 8, 9, and/or 13) or combined into one or more consolidated exhibits.  Hatching or other variations in symbology shall be used to differentiate different surface types when an exhibit is demonstrating compliance with two or more performance standards, for example, PDP and green street performance standards.

- Use this checklist to ensure required information is included on each exhibit (copy as needed).

| DMA Exhibit ID #: |  |  |  |  |
| --- | --- | --- | --- | --- |
| A. Features required for all exhibits |  |  |  |  |
| 1. Existing Site Features |  |  |  |  |
| ☐ Underlying hydrologic soil group (A, B, C, D) ☐ Approximate depth to groundwater ☐ Natural hydrologic features |  |  |  | ☐ Topography and impervious areas ☐ Existing drainage network, directions, and offsite connections |
| 2. Drainage Management Area (DMA) Information |  |  |  |  |
| ☐ Proposed drainage network, directions, and offsite connections |  |  |  | ☐ DMA boundaries, ID numbers, areas, and type (structural BMP, Green Street BMP, de minimis, etc.) |
| 3. Proposed Site Changes, Features, and BMPs |  |  |  |  |
| ☐ Proposed demolition and grading ☐ Group 1, 2, and 3 Features ☐ Group 4 Features |  |  |  | ☐ Construction BMPs ☐ Baseline source control BMPs ☐ Baseline site design BMPs ☐ Green street PDP exempt areas – new impervious areas, existing/replaced impervious areas, and removed impervious areas |
| B. Proposed Features and BMPs Specific to Individual SWQMP Attachments |  |  |  |  |
| ☐ Attachment 6 | ☐ SSD-BMP impervious dispersion areas ☐ SSD-BMP tree wells |  |  |  |
| ☐ Attachment 7 | ☐ Structural pollutant control BMPs |  |  |  |
| ☐ Attachment 8 | ☐ Structural hydromodification management BMPs ☐ Point(s) of Compliance (POC) for hydromodification management ☐ Proposed drainage boundary and drainage area to each POC |  |  |  |
| ☐ Attachment 9 | ☐ Onsite CCSYAs |  | ☐ Bypass of onsite CCSYAs ☐ Bypass of upstream offsite CCSYAs |  |
| ☐ Attachment 13 |  |  | ☐ Green Street pollutant control BMPs |  |

2.2 Individual Structural BMP DMA Mapbook

- Use this page as a cover sheet for the Structural DMA Mapbook.

- An individual Structural DMA Mapbook must be submitted for any project site with one or more structural BMPs.  One Mapbook is required for each unique subsequent owner with responsibility for maintenance of a Structural BMP. Mapbook exhibits will be incorporated as exhibits in Stormwater Maintenance Agreements (SWMAs) and Maintenance Notifications (MNs). See Attachment 11 for additional information on maintenance agreements. If the Mapbook has been provided for each subsequent owner in Attachment 11, they are not required here.

- Place each map on 8.5”x11” paper.

- Show at a minimum the DMA, Structural BMP, Assessor’s parcel boundaries with parcel numbers, and any existing hydrologic features within the DMA.

| ☐ | All Mapbooks are attached |
| --- | --- |
| ☐ | All Mapbooks are in Attachment 11 |

2.3 Construction Plan Sets

- DMAs, features, and BMPs identified and described in this attachment must also be shown on all applicable construction and landscape plans.

- As applicable, plan sheets must identify:

  - All features and BMPs identified in Sub-attachment 2.1 (DMA Exhibits).

  - The additional information listed below.

- Use this checklist to ensure required information is included on each plan (copy as needed).

| Plan Type |  |
| --- | --- |
| Required Information |  |
| ☐ Structural BMP(s) and Significant Site Design BMPs (if applicable) with ID numbers. ☐ The grading and drainage design shown on the plans must be consistent with the delineation of DMAs shown on the DMA exhibit. ☐ Details and specifications for construction of Structural BMP(s) and Significant Site Design BMPs (if applicable). ☐ Signage indicating the location and boundary of structural BMP(s) as required by County staff. ☐ How to access the structural BMP(s) to inspect and perform maintenance. ☐ Features that are provided to facilitate inspection (e.g., observation ports, cleanouts, silt posts, or other features that allow the inspector to view necessary components of the structural BMP and compare to maintenance thresholds). ☐ Maintenance thresholds specific to the structural BMP(s), with a location-specific frame of reference (e.g., level of accumulated materials that triggers removal of the materials, to be identified based on viewing marks on silt posts or measured with a survey rod with respect to a fixed benchmark within the BMP). ☐ Recommended equipment to perform maintenance. ☐ When applicable, necessary special training or certification requirements for inspection and maintenance personnel such as confined space entry or hazardous waste management. ☐ Include landscaping plan sheets (if available) showing vegetation requirements for vegetated structural BMP(s). ☐ All BMPs must be fully dimensioned on the plans. ☐ When proprietary BMPs are used, site-specific cross-section with outflow, inflow, and manufacturer model number must be provided. Photocopies of general brochures are not acceptable. ☐ Include all source control and site design measures described in the SWQMP. ☐ Include all construction BMPs described in the SWQMP. |  |

Group 1-4 features and baseline BMPs from PDP SWQMP Tables 2 and 3.

Minimum Construction Stormwater BMPs from PDP SWQMP Table 7.

Identify the location, ID numbers, type, and size/detail of BMPs.

For Building Permit Applications, refer to Form PDS 272, https://www.sandiegocounty.gov/content/dam/sdc/pds/docs/pds272.pdf