8.0 General Requirements

- Completion of this attachment is required for all PDPs subject to hydromodification management requirements (see PDP SWQMP Form Table 5). Do not submit this attachment if exempt from Hydromodification Management requirements.  Document the PDP exemption in Attachment 9.

- Submit this cover page and all required Sub-attachments for all structural hydromodification management BMPs proposed for the project.

- Constructed features must fully satisfy the requirements described in applicable BMPDM sections and appendices, and any other guidance identified by the County.

- DMA Exhibits and Construction Plans: DMAs, features, and BMPs identified and described in this attachment must be shown on DMA Exhibits and all applicable construction plans submitted for the project.  See Attachment 2 for additional instruction on exhibits and plans.

- Structural BMP Certification.  All structural hydromodification management BMPs documented this attachment must be certified by a registered engineer in Attachment 7, Sub-attachment 7.1.

- Structural BMP Verification.  BMP installation must be verified by the County at the completion of construction.  Applicants must complete an Installation Verification Form (Attachment 10).

| Sub-attachments (check all that are completed) |  |  |
| --- | --- | --- |
| ☐ 8.1: Flow Control Facility Design (required) |  |  |
| Submit using ☐ the Sub-attachment 8.1 cover sheet provided, or ☐ as a separate stand-alone document labeled Sub-attachment 8.1. |  |  |
| ☐ 8.2: Hydromodification Management Points of Compliance (required) |  |  |
| Complete the table provided in Sub-attachment 8.2. |  |  |
| 8.3: Geomorphic Assessment of Receiving Channels |  |  |
| 1. Has a geomorphic assessment been performed for the receiving channel(s)? |  |  |
| ☐ No, the low flow threshold is 0.1Q2 (default low flow threshold) |  |  |
| ☐ Yes (provide the information below): |  |  |
| Low flow threshold: ☐ 0.1Q2 ☐ 0.3Q2 ☐ 0.5Q2 |  |  |
| Title: |  |  |
| Date: | Preparer: |  |
| Submit using ☐ the Sub-attachment 8.3 cover sheet provided, or ☐ as a separate stand-alone document labeled Sub-attachment 8.3. |  |  |
| 8.4: Vector Control Plan (required if BMPs will not drain in less than 96 hours) ☐ Included with this attachment ☐ Not required |  |  |

8.1 Flow Control Facility Design

Insert Flow Control Facility Design behind this cover page or submit as a separate stand-alone document labeled Sub-attachment 8.1.

8.2 Hydromodification Management Points of Compliance

- List and describe all points of compliance (POCs) for flow control for hydromodification management.

- For each POC, provide a POC identification name or number, and a receiving channel identification name or number correlating to the project's HMP Exhibit (see Attachment 2).

| POC name or # | Channel name or # | POC Description |
| --- | --- | --- |

8.3 Geomorphic Assessment of Receiving Water Channels

Insert Geomorphic Assessment behind this cover page or submit as a separate stand-alone document labeled Sub-attachment 8.3.

8.4 Vector Control Plan

Insert Vector Control Plan behind this cover page or submit as a separate stand-alone document labeled Sub-attachment 8.4.

Including Structural BMP Drawdown Calculations and Overflow Design Summary.  See BMPDM Chapter 6 and Appendix G for additional design guidance.