9.0 General Requirements

- Complete the table below to indicate which compliance pathway was selected in PDP SWQMP Table 6.  Include the corresponding sub-attachment with your SWQMP submittal.  Other sub-attachments do not need to be included.

- See the BMPDM sections and appendices listed under “BMPDM Design Resources” for additional explanation of design requirements. Constructed features must fully satisfy the requirements described in these resources, and any other guidance identified by the County.

- DMA Exhibits and Construction Plans: CCSYAs and applicable BMPs identified and described in this attachment must be shown on DMA Exhibits and all applicable construction plans submitted for the project.  See Attachment 2 for additional instruction on exhibits and plans.

| Sub-attachments | BMPDM Design Resources |
| --- | --- |
| ☐ 9.1: Documentation of Hydromodification Management Exemption | Section 1.6 |
| ☐ 9.2: Watershed Management Area Analysis (WMAA) Mapping1 | Appendix H.1.1.2 |
| ☐ 9.3: Resource Protection Ordinance (RPO) Methods | Appendix H.1.1.1 |
| ☐ 9.4: No Net Impact Analysis | Appendix H.4 |

##### 9.1 Documentation of Hydromodification Management Exemption (BMPDM Section 1.6)

- If the PDP is exempt from hydromodification management requirements (see Table 4 Part A.1 of the PDP SWQMP), use this Sub-attachment to document the exemption.

- Select the type of exemption below that applies and provide an explanation of the selection, including maps or other applicable documentation.  Additional documentation may be requested by County staff.

Exemption Type per BMPDM Figure 1-2 (select one)

☐ a. The proposed project will discharge runoff directly to existing underground storm drains discharging directly to water storage reservoirs, lakes, enclosed embayments, or the Pacific Ocean. ☐ b. The proposed project will discharge runoff directly to conveyance channels whose bed and bank are concrete lined all the way from the point of discharge to water storage reservoirs, lakes, enclosed embayments, or the Pacific Ocean. ☐ c. The proposed project will discharge runoff directly to an area identified by the County as appropriate for an exemption by the WMAA for the watershed in which the project resides.

Explanation (add or attach pages as necessary)

##### 9.2 Watershed Management Area Analysis (WMAA) Mapping (BMPDM Appendix H.1.1.2)

Watershed Management Area Analysis (WMAA) mapping is a simple way to screen projects to determine the presence of onsite or offsite upstream Potential Critical Coarse Sediment Yield Areas (PCCSYAs).  The San Diego County Regional WMAA mapping data can be found on the Project Clean Water website here:   http://www.projectcleanwater.org/download/wmaa_attc_data/ .

- Based on the WMAA map and the proposed project design, demonstrate below that both of the following conditions apply to the PDP:

(a) Less than 5% of PCCSYAs will be impacted (built on or obstructed) by the PDP, and

(b) All upstream offsite PCCYSAs will be bypassed (see BMPDM Appendix H.3).

A. Mapping Results -- At a minimum, show: (1) the project footprint, (2) areas of proposed development, (3) impacted onsite PCCSYAs, (4) offsite tributary areas, and (5) bypass of upstream offsite PCCSYAs.

B. Explanation -- Provide documentation as needed to demonstrate that (1) impacts to PCCSYAs are below 5%, and (2) upstream offsite PCCYSAs are effectively bypassed. Add pages as necessary.

##### 9.3 Resource Protection Ordinance (RPO) Methods (BMPDM Appendix H.1.1.1)

- Either of two Resource Protection Ordinance (RPO) methods may also be used to demonstrate compliance with CCSYA requirements.  Select either option and document the selection below:

☐ RPO Scenario 1: PDP is subject to and in compliance with RPO requirements

  - Select if the project requires one or more discretionary permits;

  - Demonstrate that onsite AND upstream offsite CCSYAs will be avoided and/or bypassed.

☐ RPO Scenario 2: PDP is entirely exempt/not subject to RPO requirements

  - Select if the project does not require discretionary permits;

  - Demonstrate that all upstream offsite CCSYAs will be bypassed.

A. Mapping Results -- At a minimum, show as applicable: (1) the project footprint, (2) areas of proposed development, (3) locations of onsite and upstream offsite CCSYAs, and (4) bypass of all identified CCSYAs.

B. Explanation -- Provide documentation as needed to demonstrate that (1) onsite CCSYAs are avoided and bypassed [if applicable], and (2) upstream offsite CCYSAs are effectively bypassed. Add pages as necessary.

##### 9.4 No Net Impact Analysis (BMPDM Appendix H.4)

- When impacts to CCSYAs cannot be avoided or effectively bypassed, applicants must demonstrate that their project generates no net impact to the receiving water per the performance metrics identified in BMPDM Appendix H.4.

- Use the space below to document that the PDP will generate no net impact to any receiving water.

No Net Impact Analysis (add or attach pages as necessary)

The San Diego County Regional comprehensive WMAA mapping data can be found on the Project Clean Water website here:  http://www.projectcleanwater.org/download/wmaa_attc_data/

This option must include an analysis of the project using the methodology presented in Attachment E of the Regional Watershed Management Area Analysis.

Applicants may refine initial mapping results using options identified in BMPDM Appendix H.1.2.

Tributary areas must be shown to demonstrate that upstream offsite PCCSYAs do not exist.  If bypassing these areas, only the bypass should be shown.

RPO applicability is normally confirmed during discretionary review.  Check with your project manager if you’re not sure of your status.

Does not include PDPs utilizing exemption(s) via RPO Section 86.604(e)(2)(cc) or 86.604(e)(3).

This scenario does not impose requirements for onsite CCSYAs.