| Project Information |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Project Name |  |  |  |  |  |  |
| Project Address |  |  |  |  |  |  |
| Assessor’s Parcel # (APN) |  |  |  |  |  |  |
| Permit # / Record ID |  |  |  |  |  |  |
| Project Applicant / Project Proponent |  |  |  |  |  |  |
| Name |  |  |  |  |  |  |
| Address |  |  |  |  |  |  |
| Phone |  |  |  | Email: |  |  |
| SWQMP Preparer |  |  |  |  |  |  |
| Name |  |  |  |  |  |  |
| Company (if applicable) |  |  |  |  |  |  |
| Address |  |  |  |  |  |  |
| Phone |  |  |  | Email: |  |  |
| PE Number (if applicable) |  |  |  |  |  |  |
| Preparer's Certification I understand that the County of San Diego has adopted minimum requirements for managing urban runoff, including storm water, from land development activities, as described in the County of San Diego BMP Design Manual. The BMP Design Manual is a design manual for compliance with local County of San Diego Watershed Protection Ordinance (Sections 67.801 et seq.) and regional MS4 Permit (California Regional Water Quality Control Board San Diego Region Order No. R9-2013-0001, as amended by Order No. R9-2015-0001 and Order No. R9-2015-0100) requirements for storm water management. This SWQMP is intended to comply with applicable requirements of the BMP Design Manual. I certify that it has been completed to the best of my ability and accurately reflects the project being proposed and the applicable BMPs proposed to minimize the potentially negative impacts of this project's land development activities on water quality. I understand and acknowledge that the plan check review of this SWQMP by County staff is confined to a review and does not relieve me as the person in charge of overseeing the selection and design of storm water BMPs for this project, of my responsibilities for project design. |  |  |  |  |  |  |
| Signature |  |  |  |  | Date | Click or tap to enter a date. |

COUNTY ACCEPTED

SWQMP Approved By:  		Approval Date:

* NOTE* Approval does not constitute compliance with regulatory requirements.

General Directions

Note: These directions may be omitted from the final SWQMP submittal.

Attachment 1: Stormwater Intake Form (Required)

Include a copy of your completed Storm Water Intake Form as Attachment 1 to this submittal.

Table 1: Baseline BMPs for Existing and Proposed Site Features

Complete Table 1 to document existing and proposed site features and the BMPs to be implemented for them.  All BMPs must be implemented where applicable and feasible.  Applicability is generally assumed if a feature exists or is proposed.

BMPs must be implemented for Table 1 features where feasible.  Leaving the box for a BMP unchecked means it will not be implemented (either partially or fully) either because it is inapplicable or infeasible.  Explanations must be provided in Table 4.  Table 1 provides specific instructions on when explanations are required.

Table 2: Baseline BMPs for Pollutant-generating Sources

Table 2 is not required for Small Residential Projects.  Applicants should check the box at the top of the table to confirm it does not apply.

Small Residential Projects are those requiring either: a Building Permit, Minor Residential Grading Permit, or Site Plan Permit for a single family home; or a Tentative Parcel Map Permit for up to 4 single family homes and a remainder parcel.

All other projects must complete Table 2 to identify applicable requirements for documenting pollutant-generating sources/ features and source control BMPs.

BMPs must be implemented for Table 2 features where feasible.  Leaving the box for a BMP unchecked means it will not be implemented (either partially or fully) either because it is inapplicable or infeasible.  Explanations must be provided in Table 4.  Table 2 provides specific instructions on when explanations are required.

Table 3: Temporary Construction Phase BMPs

Complete Table 3 to document which BMPs will be implemented for each construction activity on the site.  For each applicable activity, all BMPs listed must be fully implemented where applicable and feasible.  Provide justifications for not fully implementing BMPs in Table 4, Part 2.

Table 4: Required Explanations

Use Table 4 to provide justifications for Table 1, 2, and 3 BMPs as shown below.

| Feature or Activity | Mandatory Justification | Justify if Requested |
| --- | --- | --- |
| - Table 1 and 2 Site Features & Sources | Any feature or activity for which NO BMPs are selected (you must explain why all BMPs are infeasible) | Individual BMPs that will either not be implemented, or will only be partially implemented |
| - Table 3 Construction Activities |  |  |

Table 5: Construction Plan Set Requirements

Complete Table 5 to verify that the construction plans incorporate all applicable site features, activities, and BMPs identified in this SWQMP (Tables 1, 2, and 3).

| Table 1 – Baseline BMPs for Existing and Proposed Site Features |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| A. BMPs for Existing Natural Site Features (See Fact Sheet BL-1) |  |  |  |  |  |  |  |  |  |  |
| 1. Check the boxes below for each existing feature on the site. |  |  |  |  | 2. Select the BMPs to be implemented for each identified feature. Explain why any BMP not selected is infeasible in Table 4. |  |  |  |  |  |
|  |  |  |  |  |  | Conserve natural features (SD-G) |  | Provide buffers around waterbodies (SD-H) |  |  |
| ☐ Natural waterbodies |  |  |  |  |  | ☐ |  | ☐ |  |  |
| ☐ Natural storage reservoirs & drainage corridors |  |  |  |  |  | ☐ |  | --- |  |  |
| ☐ Natural areas, soils, & vegetation (incl. trees) |  |  |  |  |  | ☐ |  | --- |  |  |
| B. BMPs for Common Impervious Outdoor Site Features (See Fact Sheet BL-2) |  |  |  |  |  |  |  |  |  |  |
| 1. Check the boxes below for each proposed feature. |  | 2. Select the BMPs to be implemented for each proposed feature. If neither BMP SD-B nor SD-I is selected for a feature, explain why both BMPs are infeasible in Table 4. |  |  |  |  |  |  |  |  |
|  |  |  | a. Direct runoff to pervious areas (SD-B) |  |  | b. Construct surfaces from permeable materials (SD-I) |  | c. Minimize the size of impervious areas |  |  |
| ☐ Streets and roads |  |  | ☐ |  |  | ☐ |  | ☐ Check this box to confirm that all impervious areas on the site will be minimized where feasible. If this box is not checked, identify the surfaces that cannot be minimized in Table 4, and explain why it is infeasible to do so. |  |  |
| ☐ Sidewalks & walkways |  |  | ☐ |  |  | ☐ |  |  |  |  |
| ☐ Parking areas & lots |  |  | ☐ |  |  | ☐ |  |  |  |  |
| ☐ Driveways |  |  | ☐ |  |  | ☐ |  |  |  |  |
| ☐ Patios, decks, & courtyards |  |  | ☐ |  |  | ☐ |  |  |  |  |
| ☐ Hardcourt recreation areas |  |  | ☐ |  |  | ☐ |  |  |  |  |
| ☐ Other: |  |  | ☐ |  |  | ☐ |  |  |  |  |
| C. | ☐ BMPs for Rooftop Areas: Check this box if rooftop areas are proposed and select at least one BMP below. If no BMPs are selected, explain why they are infeasible in Table 4. |  |  |  |  |  |  |  | (See Fact Sheet BL-3) |  |
| 1. Direct runoff to pervious areas (SD-B) |  |  |  | 2. Install green roofs (SD-C) |  |  | 3. Install rain barrels (SD-E) |  |  |  |
| ☐ |  |  |  | ☐ |  |  | ☐ |  |  |  |
| D. | ☐ BMPs for Landscaped Areas: Check this box if landscaping is proposed and select at least one BMP below. If no BMPs are selected, explain why they are infeasible in Table 4. |  |  |  |  |  |  |  |  | (See Fact Sheet BL-4) |
| 1. Sustainable Landscaping (SD-K) |  |  |  |  |  |  |  |  |  |  |
| ☐ |  |  |  |  |  |  |  |  |  |  |
| Note: All features and BMPs must be shown on applicable construction plans. See applicable Fact Sheets in Appendix C of the BMP Design Manual for additional information. Note: Use Table 4 to explain BMP infeasibility or inapplicability, or to describe features or BMPs not listed in this table. Additional explanation may be required by the County. |  |  |  |  |  |  |  |  |  |  |

| Table 2 – Baseline BMPs for Pollutant-generating Sources |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| ☐ If this is a Small Residential Project, check this box and skip the rest of this table. |  |  |  |  |  |  |  |  |  |
| A. Management of Stormwater Discharges |  |  |  |  |  |  |  |  |  |
| 1. Identify all proposed outdoor work areas below | 2. Which BMPs will be used to prevent materials from contacting rainfall or runoff? (See Fact Sheet BL-5) |  |  |  |  | 3. Where will runoff from the work area be routed? (See Fact Sheet BL-6) |  |  |  |
| (☐ Check here if none are proposed) | (Select all feasible BMPs for each work area) |  |  |  |  | (Select one or more option for each work area) |  |  |  |
|  | Overhead covering (rooftops, etc.) (SC-A) | Separation of flows from adjacent areas (berms, etc.) (SC-B) |  | Wind protection (screens, etc.) (SC-C) |  | Sanitary sewer (SC-D) | Containment system (SC-E) | Stormwater S-BMP or SSD-BMP | Other |
| ☐ Trash & Refuse Storage | ☐ | ☐ |  | ☐ |  | ☐ | ☐ | ☐ | ☐ |
| ☐ Materials & Equipment Storage | ☐ | ☐ |  | ☐ |  | ☐ | ☐ | ☐ | ☐ |
| ☐ Loading & Unloading | ☐ | ☐ |  | --- |  | ☐ | ☐ | ☐ | ☐ |
| ☐ Fueling | ☐ | ☐ |  | --- |  | ☐ | ☐ | ☐ | ☐ |
| ☐ Maintenance & Repair | ☐ | ☐ |  | --- |  | ☐ | ☐ | ☐ | ☐ |
| ☐ Vehicle & Equipment Cleaning | ☐ | ☐ |  | --- |  | ☐ | ☐ | ☐ | ☐ |
| ☐ Other: | ☐ | ☐ |  | --- |  | ☐ | ☐ | ☐ | ☐ |
| B. Prevention of Non-stormwater Discharges (See Fact Sheet BL-7) |  |  |  |  |  |  |  |  |  |
| Select one option for each feature below: |  |  |  |  |  |  |  |  |  |
| - Storm drain inlets and catch basins … |  |  | ☐ are not proposed |  | ☐ will be labeled with stenciling or signage to discourage dumping (SC-F) |  |  |  |  |
| - Educational BMP Signage … |  |  | ☐ are not proposed |  | ☐ will be labeled with educational signage for BMP (SC-G) |  |  |  |  |
| - Interior work surfaces, floor drains, & sumps … |  |  | ☐ are not proposed |  | ☐ will not discharge directly or indirectly to the MS4 or receiving waters |  |  |  |  |
| - Drain lines (e.g., air conditioning, boiler, etc.) … |  |  | ☐ are not proposed |  | ☐ will not discharge directly or indirectly to the MS4 or receiving waters |  |  |  |  |
| - Fire sprinkler test water … |  |  | ☐ are not proposed |  | ☐ will not discharge directly or indirectly to the MS4 or receiving waters |  |  |  |  |
| Note: All outdoor features and BMPs in this table must be shown on applicable construction plans. See applicable Fact Sheets in Appendix C of the BMP Design Manual for additional information. Note: Use Table 4 to explain BMP infeasibility or inapplicability, or to describe features or BMPs not listed in this table. Additional explanation may be required by the County. |  |  |  |  |  |  |  |  |  |

| Table 3 –Minimum Construction Stormwater BMPs. Minimum Required BMPs by Activity Type Select all applicable activities and at least one BMP for each; References. Caltrans; County of San Diego. ☐ Erosion Control for Disturbed Slopes (choose at least 1 per season). ☐ Vegetation Stabilization Planting (Summer); SS-2, SS-4. ☐ Hydraulic Stabilization Hydroseeding6 (Summer); SS-4. ☐ Bonded Fiber Matrix or Stabilized Fiber Matrix (Winter); SS-3. ☐ Physical Stabilization Erosion Control Blanket7 (Winter); SS-7. ☐ Erosion control for disturbed flat areas (slope < 5%). ☐ County Standard Lot Perimeter Protection Detail; SC-2; PDS 659. ☐ Use of Item A erosion control measures on flat areas; SS-3, SS-4, SS-7. ☐ County Standard Desilting Basin (must treat all site runoff); SC-2; PDS 660. ☐ Mulch, straw, wood chips, soil application; SS-6, SS-8. ☐ Energy dissipation (required to control velocity for concentrated runoff or dewatering discharge). ☐ Energy Dissipater Outlet Protection; SS-10; RSD D-40. ☐ Sediment control for all disturbed areas. ☐ Silt Fence; SC-1. ☐ Fiber Rolls (Straw Wattles); SC-5. ☐ Gravel & Sand Bags; SC-6, SC-8. ☐ Dewatering Filtration; NS-2. ☐ Storm Drain Inlet Protection; SC-10. ☐ Engineered Desilting Basin (sized for 10-year flow); SC-2. ☐ Preventing offsite tracking of sediment. ☐ Stabilized Construction Entrance; TC-1. ☐ Construction Road Stabilization; TC-2. ☐ Entrance/Exit Tire Wash; TC-3. ☐ Entrance/Exit Inspection & Cleaning Facility; TC-1. ☐ Street Sweeping and Vacuuming; SC-7. ☐ Materials Management. ☐ Material Delivery & Storage; WM-1. ☐ Spill Prevention and Control; WM-4. ☐ Waste Management. ☐ Waste Management Concrete Waste Management; WM-8. ☐ Solid Waste Management; WM-5. ☐ Sanitary Waste Management; WM-9. ☐ Hazardous Waste Management; WM-6. |
| --- |
| Table 4 – Required Explanations |  |  |  |
| Part 1: Baseline BMPs (from Tables 1 and 2) - Required Justifications: Provide explanations of BMP inapplicability and/or infeasibility as indicated per Tables 1 and 2. - If Requested: Justify why individual BMPs will not be implemented or will only be partially implemented. - Additional Explanation: Describe any proposed features and/or BMPs not listed in Tables 1 or 2. |  |  |  |
| BMP-Feature Combination |  |  | Explanation |
| Feature |  |  |  |
| BMP |  |  |  |
| Feature |  |  |  |
| BMP |  |  |  |
| Feature |  |  |  |
| BMP |  |  |  |
| Part 2: Justifications for Temporary Construction Phase BMPs (from Table 3) - Required Justifications: Justify all construction activity types for which NO BMPs were selected. - If Requested: Justify why specific individual BMPs were not selected. - Additional Explanation: Describe any proposed features and/or BMPs not listed in Table 3. |  |  |  |
| BMP-Activity Combination |  |  | Explanation |
| Activity Type |  |  |  |
| BMP |  |  |  |
| Activity Type |  |  |  |
| BMP |  |  |  |

Table 5 – Construction Plan Set Requirements

Use this checklist to confirm that the required information is included on the construction plans.

☐ Include all source control and site design measures described in the SWQMP.

☐ Include all construction BMPs described in the SWQMP.

Each BMP is required where feasible. If none are selected for any feature, explain why they are infeasible in Table 4.

Separate wastewater agency approvals may be required.

Structural Treatment Control BMPs (S-BMPs) and Significant Site Design BMPs (SSD-BMPs) are permanent BMPs for Priority Development Projects (PDPs). Most Standard Projects do not have pre-existing or proposed S-BMPs and SSD-BMPs.

Describe other proposed options for managing stormwater discharges in Table 4.

See Caltrans 2017 Construction Site Best Management Practices (BMP) Manual available at: https://dot.ca.gov/programs/construction/storm-water-and-water-pollution-control/manuals-and-handbooks

Planting or Hydroseeding may be installed between May 1st and August 15th. Slope irrigation must be in place and operable for slopes >3 feet. Vegetation must be watered and established prior to October 1st. A contingency physical BMP must be implemented by August 15th if vegetation is not established by that date. If landscaping is proposed, erosion control measures must also be used while landscaping is being established. Established vegetation must have a subsurface mat of intertwined mature roots with a uniform vegetative coverage of 70 percent of the natural vegetative coverage or more on all disturbed areas.

All slopes over three feet must have established vegetative cover prior to final permit approval.

County PDS 659. Standard Lot Perimeter Protection Design System (Bldg. Division)

County PDS 660. County Standard Desilting Basin for Disturbed Areas of 1 Acre or Less Bldg. Division

Regional Standard Drawing D-40 – Rip Rap Energy Dissipater (also acceptable for velocity reduction)

Applicants are responsible to apply appropriate BMPs for specific wastes (e.g., BMP WM-8 for concrete).

For Building Permit Applications, refer to Form PDS 272, https://www.sandiegocounty.gov/content/dam/sdc/pds/docs/pds272.pdf