## Vaccine Management Plan

##### State-Purchased Influenza Vaccine Program

| Organization/ Facility | myCAvax ID | CAIR Registry ID |
| --- | --- | --- |
| Click or tap here to enter text. | Click or tap here to enter text. | Click or tap here to enter text. |
| Address | (City/Zip) | Mobile Unit |
| Click or tap here to enter text. | Click or tap here to enter text. | ☐ Yes ☐ No |
| If yes, provide the Vaccine Storage Address for the Mobile Unit: |  |  |
| Click or tap here to enter text. |  |  |
| During events, does the mobile unit store vaccines in a cooler or refrigerator? |  |  |
| ☐ Cooler ☐ Refrigerator |  |  |

*Note:

- State-Purchased Influenza Vaccine providers are required to complete and maintain this Vaccine Management Plan that covers routine and emergency situations at each facility.

- This plan also details proactive steps providers and staff must take to protect vaccines and minimize vaccine loss due to negligence.

- All vaccine coordinators are responsible for implementing the plan. The Medical Director is ultimately accountable for practice or clinic compliance.

- All staff who handle vaccines should be familiar with this plan and are encouraged to review it periodically.

Instructions: This is a fillable document. Complete all sections of the plan and submit with State-Purchased Influenza Vaccine Program enrollment documents. Key practice staff should sign and update the signature log whenever the plan is revised.

Keep this Vaccine Management Plan near the vaccine storage unit.

## Section 1: Important Contacts

#### Key Practice Staff and Roles

#### Important:

#### Provider of Record must be a licensed Medical Doctor (MD), Physician Assistant (PA) or Registered Nurse (RN).

#### The names of the Provider of Record, Primary Vaccine Coordinator, and Backup Vaccine Coordinator must be the same on the Agreement for Use and on the location’s myCAvax account.

| Role | Name | License Type (MD, RN, PA) | Phone# | Alt Phone # | Email |
| --- | --- | --- | --- | --- | --- |
| Provider of Record | Click or tap here to enter text. | Click or tap here to enter text. | Click or tap here to enter text. | Click or tap here to enter text. | Click or tap here to enter text. |
| Clinic Manager | Click or tap here to enter text. | Click or tap here to enter text. | Click or tap here to enter text. | Click or tap here to enter text. | Click or tap here to enter text. |
| Primary Vaccine Coordinator | Click or tap here to enter text. | Click or tap here to enter text. | Click or tap here to enter text. | Click or tap here to enter text. | Click or tap here to enter text. |
| Backup Vaccine Coordinator | Click or tap here to enter text. | Click or tap here to enter text. | Click or tap here to enter text. | Click or tap here to enter text. | Click or tap here to enter text. |

*Note: Changes to key staff must be updated in myCAvax and the Agreement for Use, signed by new staff member, and emailed to HHSA.Countyfluvaccine@sdcounty.ca.gov within 3 business days of the change.

#### Useful and Emergency Phone Numbers

| Service | Name | Phone # |
| --- | --- | --- |
| State Flu Vaccine Program / Immunization Unit | Email HHSA.Countyfluvaccine@sdcounty.ca.gov | 619-366-7128 |
| CAIR Help Desk | Help Desk Email CAIRHelpdesk@cdph.ca.gov | 800-578-7889 |
| Utility company | Click or tap here to enter text. | Click or tap here to enter text. |
| Building company | Click or tap here to enter text. | Click or tap here to enter text. |
| Building alarm company | Click or tap here to enter text. | Click or tap here to enter text. |
| Refrigerator alarm company | Click or tap here to enter text. | Click or tap here to enter text. |
| Refrigerator repair/maintenance company | Click or tap here to enter text. | Click or tap here to enter text. |
| Digital data logger IT support | Click or tap here to enter text. | Click or tap here to enter text. |
| Data Logger Calibration Lab | Click or tap here to enter text. | Click or tap here to enter text. |

## Section 2: Equipment Documentation

Vaccine Storage Units

- List only refrigerators that will store State Flu Vaccine.

Location where completed temperature logs are saved: Click or tap here to enter text.

| Unit type | Unit Location | Brand/ | Model Serial Number | Dates/Type of Service - Maintenance |
| --- | --- | --- | --- | --- |
| Refrigerator | Click or tap here to enter text. | Click or tap here to enter text. | Click or tap here to enter text. | Click or tap here to enter text. |
| Refrigerator | Click or tap here to enter text. | Click or tap here to enter text. | Click or tap here to enter text. | Click or tap here to enter text. |
| Refrigerator | Click or tap here to enter text. | Click or tap here to enter text. | Click or tap here to enter text. | Click or tap here to enter text. |
| Refrigerator | Click or tap here to enter text. | Click or tap here to enter text. | Click or tap here to enter text. | Click or tap here to enter text. |
| Mobile Unit Refrigerator | Click or tap here to enter text. | Click or tap here to enter text. | Click or tap here to enter text. | Click or tap here to enter text. |

Digital Data Loggers

*Important reminders:

- Enter all the information requested below to avoid delays in processing enrollment.

- The data logger serial number must match the calibration certificate and photo submitted.

- If using a swappable probe, the probe’s serial number must match the calibration certificate and photo submitted.

- List the transport data logger information if your location conducts outreach events.

- The recommended alarm settings should be within the recommended parameters:

  - Low (35.9°F or 1.9°C)

  - High (46.1°F or 8.1°C)

| Data Logger Model and Serial Number | Swappable Probe Serial Number | Primary (P) Backup (B) Transport (T) Mobile Unit (M) | Calibration Expiration Date | Alarm Setting Low | Alarm Setting High |
| --- | --- | --- | --- | --- | --- |
| Click or tap here to enter text. | Click or tap here to enter text. | Click or tap here to enter text. | Click or tap to enter a date. | Click or tap here to enter text. | Click or tap here to enter text. |
| Click or tap here to enter text. | Click or tap here to enter text. | Click or tap here to enter text. | Click or tap to enter a date. | Click or tap here to enter text. | Click or tap here to enter text. |
| Click or tap here to enter text. | Click or tap here to enter text. | Click or tap here to enter text. | Click or tap to enter a date. | Click or tap here to enter text. | Click or tap here to enter text. |
| Click or tap here to enter text. | Click or tap here to enter text. | Click or tap here to enter text. | Click or tap to enter a date. | Click or tap here to enter text. | Click or tap here to enter text. |
| Click or tap here to enter text. | Click or tap here to enter text. | Click or tap here to enter text. | Click or tap to enter a date. | Click or tap here to enter text. | Click or tap here to enter text. |
| Click or tap here to enter text. | Click or tap here to enter text. | Click or tap here to enter text. | Click or tap to enter a date. | Click or tap here to enter text. | Click or tap here to enter text. |

Digital data logger auto-alerts

| Auto-alert notification sent to: | Click or tap here to enter text. | Phone: | Click or tap here to enter text. |
| --- | --- | --- | --- |
| Auto-alert notification sent to: | Click or tap here to enter text. | Phone: | Click or tap here to enter text. |
| Auto-alert notification sent to: | Click or tap here to enter text. | Phone: | Click or tap here to enter text. |

- Outline in the space below, or attach, the practice’s protocol for responding to temperature excursions including the after-hours protocol. Consider implementing a phone tree. Ensure safety and security staff are included (e.g., for alerts after dark).

- *Reminder: It is a program requirement to report all temperature excursions or vaccine handling incidents.

- State Purchased Flu Vaccine Storage and Handling Incident Reporting Process.pdf (sandiegocounty.gov)

Click or tap here to enter text.

## Section 3: Key Practice Staff Roles and

Responsibilities

This section highlights key duties of designated vaccine management staff.

#### Medical Director/ Clinic Manager

- Oversees key practice staff to ensure State-Purchased Influenza Vaccine requirements are met.

- Completes required EZIZ training lessons.

- Complies with all state vaccine management requirements, including key areas outlined in this plan.

- Designates one staff as the Backup Vaccine Coordinator responsible for vaccine management when the Primary Vaccine Coordinator is not available.

- Authorizes and reports staffing changes regarding the Primary Vaccine Coordinator and Backup Vaccine Coordinator.

- Meets and documents required annual training for the vaccine management staff.

- Ensures that vaccine management staff are knowledgeable of program requirements for temperature monitoring and vaccine storage.

- Ensures the practice’s vaccine inventory management is consistent with program requirements.

- Ensures the practice’s vaccine storage units and temperature monitoring devices meet program requirements.

- Updates and revises vaccine management plan at least annually and whenever necessary.

#### Primary Vaccine Coordinator

- Completes required EZIZ training lessons.

- Oversees the practice’s Vaccine Management Plan for routine and emergency situations.

- Monitors vaccine storage units.

- Maintains State Flu related documentation in an accessible location.

- Sends State-Purchased Influenza Vaccine Weekly Report to the County State-Purchased Influenza Vaccine Program

- Ensures staff know how and are completing eligibility screening and documentation in CAIR consistently.

- Ensures vaccinators use State General Funded (SGF) Influenza Vaccine stock as instructed in written orders.

#### Backup Vaccine Coordinator

- Completes required EZIZ training lessons.

- Fulfills above duties when Primary Vaccine Coordinator not available.

## Section 4: Management Plan for Routine Situations

#### Initial equipment setup

- Use vaccine storage units and digital data loggers that meet State-Purchased Influenza Vaccine Program requirements (CDPH standards).

  - Approved stand-alone refrigeration unit used solely for vaccine storage (see http://eziz.org/vaccine-storage/ for examples of acceptable storage units).

  - See http://eziz.org/vaccine-storage/digital-data-loggers/ for examples of acceptable digital data loggers or contact the VFC Help Desk at 877-243-8832.

- Configure storage units and digital data loggers to meet Vaccines for Children (VFC) Program requirements.

- Post refrigerator temperature logs (http://eziz.org/resources/storage-handling-job-aids/) on vaccine storage unit doors or nearby in an accessible location.

- Do not store vaccines in storage units until temperatures are stable (refrigerator’s average temperature is approximately 40.0°F) for 3–5 days.

#### Daily tasks

- Record the CURRENT, MIN, and MAX on the temperature log twice a day, when the clinic opens and before it closes.

- Document temperatures using the Universal temperature log (IMM-1535).

- Take action for temperature excursions or other vaccine incidents. Act immediately to protect vaccines. Report all out-of-range temperatures using the vaccine incident reporting process.

#### Weekly tasks

- Conduct a careful and accurate physical vaccine inventory and complete the State-Purchased Influenza Vaccine Weekly report.

- Download and review data files at the end of every one-week reporting period to find missed out-of-range temperatures or temperature trends that might indicate performance issues with vaccine storage units.

#### Annual tasks

- Review and update the practice’s Vaccine Management Plan.

- Review with key practice staff the Vaccine Management Plan’s section on preparing for and responding to vaccine-related emergencies and conduct regular vaccine transport drills to maintain competency.

- Calibrate primary and backup temperature monitoring devices.

#### As needed

- Request additional State Funded Influenza Vaccine on myCAvax. If encountering ordering difficulties, contact the State-Purchased Flu Program via email at HHSA.Countyfluvaccine@sdcounty.ca.gov.

- Immediately report any changes in key practice staff who have vaccine-related responsibilities.

- Ensure all new staff are properly trained on temperature monitoring, including proper use of the practice’s data loggers and the required corrective actions for out-of-range temperatures.

- Update this Vaccine Management Plan to reflect any changes in key practice staff.

- Purchase a new data logger if existing device or probe malfunctions, is damaged, or if device provides repeated, inaccurate temperature readings.

- When purchasing new digital data loggers, ensure they meet CDPH requirements. More information can be found here: Digital Data Loggers – California Vaccines for Children (VFC) (eziz.org).

## Section 5: Worksheet for Emergency Vaccine

Management

The following sections include space for information and necessary actions to take in the event of an

emergency, such as unit malfunction, mechanical failure, power outage, natural disaster, or human error.

#### Emergency contacts

In an emergency, contact the following people:

| Role/Responsibility | Name | Phone # | Cell # | Email address |
| --- | --- | --- | --- | --- |
| Click or tap here to enter text. | Click or tap here to enter text. | Click or tap here to enter text. | Click or tap here to enter text. | Click or tap here to enter text. |
| Click or tap here to enter text. | Click or tap here to enter text. | Click or tap here to enter text. | Click or tap here to enter text. | Click or tap here to enter text. |
| Click or tap here to enter text. | Click or tap here to enter text. | Click or tap here to enter text. | Click or tap here to enter text. | Click or tap here to enter text. |
| Click or tap here to enter text. | Click or tap here to enter text. | Click or tap here to enter text. | Click or tap here to enter text. | Click or tap here to enter text. |

#### Emergency storage

Does your facility have a generator? Yes ☐  No ☐

Location of facility generator: Click or tap here to enter text.

If your facility does not have a generator, and/or your vaccine storage unit fails, it might be necessary to transport vaccines to an alternate storage location (e.g., a local hospital or another provider that has vaccine storage units and temperature monitoring devices that meet State Flu Program requirements).

| Alternate vaccine storage location | Address | Phone # | Alt Phone # | Email address |
| --- | --- | --- | --- | --- |
| Click or tap here to enter text. | Click or tap here to enter text. | Click or tap here to enter text. | Click or tap here to enter text. | Click or tap here to enter text. |
| Click or tap here to enter text. | Click or tap here to enter text. | Click or tap here to enter text. | Click or tap here to enter text. | Click or tap here to enter text. |

Location of emergency transport equipment and supplies: Click or tap here to enter text.

Facility floor plan-emergencies

Create or attach a simple floor diagram identifying the location of key items needed during an emergency:

- circuit breakers, flashlights, spare batteries, keys to secured cabinets, backup digital data logger, vaccine storage units, coolers, packing materials, etc.

## Section 6: Management Plan for Emergencies

Do not risk staff safety during emergencies. Use the following guidance for safeguarding vaccines in the event of planned or unplanned power interruptions (e.g., power outages, weather-related circumstances, fires, building maintenance/repairs).

#### Checklist: Before an emergency

Proper preparation for emergencies is essential for protecting the viability of vaccines. Use the following checklist to help ensure practices are ready for planned or unexpected situations that might affect vaccine viability.

Maintain current emergency contact information for key practice staff in the vaccine management plan.

Maintain current contact information for alternate vaccine storage location(s), including the facility name, address, and telephone number in the vaccine management plan.

Be familiar with backup power sources for commercial- and pharmacy-grade units. Know the location of the backup data logger used for vaccine transport.

Stock vaccine packing and transport supplies, including a hard-sided cooler, frozen gel packs, and

bubble wrap.

Keep copies of the Refrigerated Vaccine Transport Log http://eziz.org/assets/docs/IMM-1132.pdf

and floor plans (when available) for easy access during a vaccine-related emergency

Review annually the steps key practice staff must take to protect vaccines during short- or long- term outages.

Vaccine Transport Drill: Practice packing the transport cooler using packing supplies and materials that simulate vaccine boxes. Do NOT practice with actual vaccines.

#### Checklist: During an emergency

Due to the risk to vaccines of improper packing and transporting, follow these step-by-step instructions during an emergency to determine whether vaccines should be transported or sheltered in place.

Do not open the unit.

Place a “DO NOT OPEN” sign on vaccine storage unit(s) and leave door(s) shut to conserve cold air mass.

Notify the emergency contacts identified on the vaccine management plan.

Note the time the outage started and storage unit temperatures (CURRENT, MIN and MAX) on the temperature log.

Assess to determine the cause of the power failure and estimate the time it will take to restore power.

Take appropriate action.

- In the event of appliance failure: Place vaccines in any approved backup storage unit with a

compliant data logger, or transport vaccines to the designated alternate storage facility. (Refer to “Transporting Vaccines” http://www.eziz.org/assets/docs/IMM-983.pdf.)

- For power outages after hours: Report event to the State Flu Vaccine Program the next business day.

- For planned outages expected to be short-term (approximately fewer than 4 hours) Monitor storage unit temperature and report any excursions once power has been restored.

- For planned/unplanned outages expected to be longer than approximately 4 hours,* or for any outage that extends beyond the current business day: Transport vaccines to the designated alternate storage facility. If transport or relocation is not feasible (e.g., alternate location is not available or travel conditions are unsafe), keep vaccine storage units closed and notify the State Flu Vaccine Program as soon as possible.

Once power has been restored, follow the steps listed in “After an Emergency.”

#### Checklist: After an emergency

Follow these step-by-step instructions after vaccine-related emergencies in compliance with Program requirements and best practices.

Verify storage units are functioning properly. If vaccine storage units are outside the required temperature range, record the time that power was restored and storage unit temperatures (CURRENT, MIN, and MAX) on the temperature log. Once vaccine storage unit temperatures have stabilized, notify the emergency contacts identified on the vaccine management plan. If vaccines were transported due to an emergency situation: - Follow the same transportation procedures and transfer vaccine back to its original storage unit. (Refer to “Transporting Vaccines” http://www.eziz.org/assets/docs/IMM-983.pdf). - If vaccines were kept at the proper temperature during the power outage, notify supervisor that the vaccines may be used. - If vaccines were maintained at required temperatures: Remove the “DO NOT OPEN” sign from storage unit(s). Notify supervisor that vaccines may be used.

If State Flu vaccines were exposed to out-of-range temperatures: - STOP administering vaccines from affected unit IMMEDIATELY - Label affected vaccines “Do Not Use.” - Alert your supervisor. - Download the data logger report. - Follow the State Purchased Influenza Vaccine Handling Incident Reporting Process - Submit the online incident reporting form to the State-Purchased Influenza Program.

## Section 7: Log for Required EZIZ Trainings

List staff with vaccine-related responsibilities to acknowledge that they have completed the required EZIZ lessons. Dates of lessons completed must be included, or the cumulative EZIZ printout attached.

- The EZIZ printout that includes staff names and the dates of completed lessons is acceptable in lieu of completing this section.

*Reminder that the Vaccine Coordinator and Backup Coordinator must submit the EZIZ trainings with the enrollment packet.

| Role | Name | Storing Vaccines | Monitoring Storage Unit Temperatures | Conducting a Vaccine Inventory |
| --- | --- | --- | --- | --- |
|  |  | Date Completed: |  |  |
| Click or tap here to enter text. | Click or tap here to enter text. | Click or tap to enter a date. | Click or tap to enter a date. | Click or tap to enter a date. |
| Click or tap here to enter text. | Click or tap here to enter text. | Click or tap to enter a date. | Click or tap to enter a date. | Click or tap to enter a date. |
| Click or tap here to enter text. | Click or tap here to enter text. | Click or tap to enter a date. | Click or tap to enter a date. | Click or tap to enter a date. |
| Click or tap here to enter text. | Click or tap here to enter text. | Click or tap to enter a date. | Click or tap to enter a date. | Click or tap to enter a date. |
| Click or tap here to enter text. | Click or tap here to enter text. | Click or tap to enter a date. | Click or tap to enter a date. | Click or tap to enter a date. |
| Click or tap here to enter text. | Click or tap here to enter text. | Click or tap to enter a date. | Click or tap to enter a date. | Click or tap to enter a date. |
| Click or tap here to enter text. | Click or tap here to enter text. | Click or tap to enter a date. | Click or tap to enter a date. | Click or tap to enter a date. |
| Click or tap here to enter text. | Click or tap here to enter text. | Click or tap to enter a date. | Click or tap to enter a date. | Click or tap to enter a date. |
| Click or tap here to enter text. | Click or tap here to enter text. | Click or tap to enter a date. | Click or tap to enter a date. | Click or tap to enter a date. |
| Click or tap here to enter text. | Click or tap here to enter text. | Click or tap to enter a date. | Click or tap to enter a date. | Click or tap to enter a date. |
| Click or tap here to enter text. | Click or tap here to enter text. | Click or tap to enter a date. | Click or tap to enter a date. | Click or tap to enter a date. |
| Click or tap here to enter text. | Click or tap here to enter text. | Click or tap to enter a date. | Click or tap to enter a date. | Click or tap to enter a date. |
| Click or tap here to enter text. | Click or tap here to enter text. | Click or tap to enter a date. | Click or tap to enter a date. | Click or tap to enter a date. |
| Click or tap here to enter text. | Click or tap here to enter text. | Click or tap to enter a date. | Click or tap to enter a date. | Click or tap to enter a date. |
| Click or tap here to enter text. | Click or tap here to enter text. | Click or tap to enter a date. | Click or tap to enter a date. | Click or tap to enter a date. |
| Click or tap here to enter text. | Click or tap here to enter text. | Click or tap to enter a date. | Click or tap to enter a date. | Click or tap to enter a date. |
| Click or tap here to enter text. | Click or tap here to enter text. | Click or tap to enter a date. | Click or tap to enter a date. | Click or tap to enter a date. |

Section 8: Annual Signature

Sign and date one signature block when you update practice-specific information.

- The names and signatures of staff listed below must match those in Section 1: Important Contacts, page 2.

- By signing, staff acknowledge they have reviewed and agree to abide by the requirements in this plan.

- Must be a wet or digital signature with a time and date stamp.

| Provider of Record/ Medical Director | Click or tap here to enter text. | Signature & Date |  | Click or tap to enter a date. |
| --- | --- | --- | --- | --- |
| Vaccine Coordinator | Click or tap here to enter text. | Signature & Date |  | Click or tap to enter a date. |
| Backup Vaccine Coordinator | Click or tap here to enter text. | Signature & Date |  | Click or tap to enter a date. |
| Staff who updates VMP | Click or tap here to enter text. | Signature & Date |  | Click or tap to enter a date. |
| Additional Staff | Click or tap here to enter text. | Signature & Date |  | Click or tap to enter a date. |

| Updates and Comments | Click or tap here to enter text. |  |  |  |
| --- | --- | --- | --- | --- |
| Provider of Record/ Medical Director | Click or tap here to enter text. | Signature & Date |  | Click or tap to enter a date. |
| Vaccine Coordinator | Click or tap here to enter text. | Signature & Date |  | Click or tap to enter a date. |
| Backup Vaccine Coordinator | Click or tap here to enter text. | Signature & Date |  | Click or tap to enter a date. |
| Staff who updates VMP | Click or tap here to enter text. | Signature & Date |  | Click or tap to enter a date. |
| Additional Staff | Click or tap here to enter text. | Signature & Date |  | Click or tap to enter a date. |